## BoQ1 (hidden)
Item Rate BoQ
BoQ_Ver3.0 | Item Rate | Normal | INR Only | INR
Select, Excess (+), Less (-) |  | Less (-)
Tender Inviting Authority: MD cum CEO, Dharamshala Smart City Limited
Name of Work:Development of Modular Toilet in Dharamshala
Contract No:DSCL/07/2021
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | RATE In Figures To be entered by the Bidder in Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT With all Taxes in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53 | 54 | 55
1 | Demolition above G.L. upto floor two level including disposal of unserviceable materials within all leads and lifts in un reinforced cement concrete upto 15cm thickness. |  | 38.8 | cum |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2 | Demolition of brick work above G.L. upto floor two level including stacking of serviceable materials and disposal of un-serviceable materials within all lead and lifts in cement mortar. |  | 12.08 | cum |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
3 | Demolition of stone masonry below G.L. upto 1.5 Metres depth including stacking of serviceable materials and disposal of un-serviceable materials within all lead and lifts in Rubble Masonary wall in cement mortar. |  | 33.75 | cum |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
4 | Demolition of stone masonry above G.L. upto floor two level including stacking of serviceable materials and disposal of un-serviceable materials within all leads and lifts. |  | 41.63 | cum |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
5 | Demolition below G.L. upto 3.0 Metres depth including stacking of serviceable materials and disposal of unserviceable materials within all leads and lifts. and including cutting the necessary reinforcement and separating from R.C.C. work. |  | 40.17 | cum |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
6 | Dismantling tiled floors laid in mortar upto floor two level including stacking of serviceable materials and disposal of un-serviceable materials within all leads and lifts. | [53 empty] | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
6.1 | For thickness of tiles upto 25mm. |  | 7.5 | sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
6.2 | Stone slab/flagged floors. |  | 48 | sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
7 | Dismantling G.I. Sheet roofing including ridges, hips, valleys, gutters etc. stacking the serviceable materials and disposal of un-serviceable materials within with all leads and lifts. as directed by Engineer-in- Charge: |  | 73.79 | sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
8 | Dismantling Cement asbestos celotax/hard board in ceiling or partition Walls including stacking of serviceable materials and disposal of un-serviceable materials within all leads and lifts. (Frame work such as joists, beams to be measured and paid for separately). |  | 56.76 | sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
9 | Dismantling steel work upto span of 10 Metres and a height of 5 Metres in built up sections in angles, tees, flats and channels including all gusset plates, bolts, nuts, beadings etc. and stacking the materials with all leads and lifts. as directed by Engineer-in- Charge: :-Including dismembering, for dismantling trusses, rafters, purlins etc. of steel work for every additional span of one Metre or part thereof beyond all leads and lifts.. |  | 25.83 | Qtl. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
10 | Cutting in earth work and disposal of excavated earth with all leads and lifts. as directed by Engineer-in- Charge: include spade work, pick work,chiselling/ wedging out of rock where blasting is prohibited soft rock/hard rock.upto all leads and lifts and as per direction of Engineer-In-Charge. |  | 269.38 | cum |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
11 | Excavation in foundations, trenches etc, in earth work, such as spade work, pick work including Chiselling/ wedging out of rock where blasting is prohibited hard /soft rock lift upto 1.50 Metres stacking the excavated soil not more than 3 metres clear from the edge of the excavation and then returning the stacked in 15cm. layers, when required in to plinths sides of foundations etc., consolidating each deposited layer by ramming and watering and then disposing of all surplus excavated earth as directed with all leads and lifts and as directed by Engineer-in- Charge: |  | 332.66 | cum |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
12 | Excavation in drains and channels etc. in earth work including dressing of side and bed and disposing of excavated earth with all leads and lifts and as directed by Engineer-in- Charge: disposed earth to be levelled and neatly dressed with pick and spade work. upto all leads and lifts and as per direction of Engineer-In-Charge. |  | 34 | cum |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
13 | Earth work in surface excavation not exceeding 30 cm in depth but exceeding 1.5 m in width as well as 10 sqm on plan including getting out and disposal of excavated earth with all leads and lifts. as directed by Engineer-in- Charge: |  | 356.5 | sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
14 | Providing and filling in plinth with sand under floors including watering, ramming, consolidating and dressing complete (by deducting plinth beam area) and all carriage and lead lift as per Engg.-In -Charge. |  | 12.38 | cum |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
15 | Stone/boulder filling under floors/behind retaining walls of selected hard stone including carriage of material in all leads & lifts and as per direction of Engineer In -Charge. |  | 102.79 | cum |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
16 | Providing and laying cement concrete mechanically mixed 1:4:8 (1 cement : 4 sand : 8 graded stone aggregate 40mm nominal size) curing complete excluding cost of form work in foundation and plinth including carriage of material upto all leads and lifts and as per direction of Engineer In Charge. |  | 56.6 | cum |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
17 | Providing and laying cement concrete mechanically mixed 1:3:6 (1 cement : 3 sand : 6 graded stone aggregate 40mm nominal size) curing complete excluding cost of form work in foundation and plinth including carriage of material upto all leads and lifts and as per direction of Engineer-In-Charge. |  | 7.33 | cum |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
18 | Providing and laying cement concrete 1:2:4 (1 cement:2 sand :4 graded stone aggregate 40mm nominal size) and curing complete excluding cost of form work in:Foundation and plinth Walls including attached but tresses, pilasters, and their caps and bases and string courses etc. upto floor two level.including all taxes and carriage of material upto all leads & lifts, and as per direction of Engineer-In-Charge. |  | 4.65 | cum |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
19 | Providing and laying cement concrete 1:1.5:3 (1 cement :1.5 sand :3 graded stone aggregate 20mm. nominal size) and curing complete excluding cost of form work and reinforcement for reinforced concrete work in foundation & plinth, walls including attached buttresses, pilasters and their caps and bases string courses etc.and independent piers, columns and pillars up to floor two level. including carriage of material upto all leads and lifts and as per direction of Engineer in charge. |  | 130.86 | cum |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
20 | Providing Tor steel reinforcement Fe500 for R.C.C. work including bending, binding and placing in position complete upto floor two level including carriage of material upto all leads and lifts and as per direction of Engineer In Charge. |  | 19177.59 | kg |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
21 | Providing form work with steel plates 3.15mm.thick welded with angle iron in frame 30x30x5mm. so as to give a fair finish including centering, shuttering, strutting and propping etc. with wooden battens and ballies, height of propping and centering below supporting floor to ceiling not exceeding 4 Mtrs. and removal of the same for insitu-reinforced concrete & plain concrete work in foundation,footings basis of columns etc. and mass concrete floors etc. upto 200mm thickness for vertical & horizontal, and flat & circular surfaces of, soffit, beam, slab, column and retaining structure etc.with all leads and lifts. as directed by Engineer-in- Charge: |  | 716.89 | sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
22 | Providing form work with steel plates 3.15mm.thick welded with angle iron in frame 30x30x5mm. so as to give a fair finish including centering, shuttering, strutting and propping etc.and removal of the same for insitu-reinforced concrete & plain concrete work in drains.i/c carriage of materials of all leads and lifts as per Engg. in Charge. |  | 48 | sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
23 | Steel work welded in built up sections / hollow section, in beams joists channels ,angles ,tee ,flats with connection plates or angle cleats as in main and cross beems, hip and jack rafters, purlins connected to common rafters and the like and in In gratings framed guard bars, ladders, railling,brackets and similar works trusses and framed work including cutting, hoisting, fixing in position and applying a priming coat of red lead paint including carriage of material upto all leads and lifts and as per direction of Engineer In Charge. |  | 64.24 | qtl. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
24 | Providing and fixing 0.60mm thick prepainted steel sheet in roofing with hot dipped metallic zinc coated sheet with top coat of regular modified polyster (RNP) organic coating of 20 microns over 5 microns primer coating to back coat of polyster of 5 microns over 5 microns primer coating i/c fixing with repainted iron J or L hooks, bolts and nuts 6mm dia metre with prepainted limpet and rubber washers complete with all accessories as required as per the direction of Engineer-in-charge. |  | 139.64 | sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
25 | Providing and fixing M.S. BP Sheet 1.66mm to 2.00 mm thick in eaves board/facial/soffits/ceiling including cutting, fixing and welding to steel roof members and applying a coat of red lead primer complete with all leads and lifts. as directed by Engineer-in- Charge: (Base members of steel work shall be measured & paid separately). |  | 116.28 | sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
26 | Providing and fixing valley 60 cm overall 0.60mm thick preprinted steel sheet in roofing with hot dipped metallic zinc coated sheet with top coat of regular modified polyster organic outing of 20 microns over 5 microns primer coating back coat of polyster of 5 microns over 5 microns primer coating i/c fixing with prepainted iron J or L hooks, bolts and nuts 6mm dia with prepainted G.I. limpet and bitumen washers complete with all accessories as required as per the direction of Engineer-in-charge. |  | 24 | Rmt. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
27 | Providing and fixing ridges or hips 60 cm wide overall with 0.60mm thick preprinted steel sheets in roofing with hot dipped metallic zinc coated sheets with top coat of regular modified polyster organic coating of 20 microns over 5microns primer coating + backcoat of polyster of 5 microns over 5microns primer coating i/c fixing with preprinted iron J or L hooks, bolts & nuts 6mm dia & preprinted G.I. limpet and bitumen washers complete with all accessories upto all leads and lifts and as per D33directed by Engineer-in- Charge: |  | 16 | Rmt. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
28 | Random rubble masonry/ polygonal rubble masonry (Uncoursed/brought to courses) with hard stone of approved quality in foundation and plinth including levelling up with cement concrete 1:6:12 (1 cement : 6 Sand : 12 Graded stone aggregate 20mm nominal size) in cement mortar 1:6 (1 cement:6 sand) in breast walls and retaining walls including carriage of material upto all leads and lifts and as per direction of Engineer In Charge. |  | 65.07 | cum |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
29 | Brick work using common burnt clay second class building bricks with cement mortar 1:3 (1 cement : 3 sand) in super-structure above plinth level upto floor two level including carriage of material D36 |  | 52.37 | cum |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
30 | Half brick masonry in Second Class Bricks common burnt clay building bricks in Cement Mortar 1:4 (1 cement:4 sand) including carriage of material upto all leads and lifts and as per direction of Engineer-In-Charge. |  | 69.16 | sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
31 | Providing weepholes in brick masonry / stone masonry /plain reinforced concrete abutment, wing wall, return wall with 110 mm dia PVC pipe (weight should not be less than 4kg/cm2), extending through the full with of the structures with slope of 1(v):20(H) towards drawing face complete as per drawing and technical specification clauses 614, 709, 1204.3.7, including carriage of material in all leads and lifts and as per direction of Engineer in Charge. |  | 64.84 | Rmt. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
32 | Providing and fixing precast M20 grade of RCC drain cover slab (1000x800)mm i/c reinforcement steel bar as per design and drawings, and 150mm thick perforated RCC drain cover, (with 50mm PVC pipe for holes) i/c all lifts, lead, carriage and taxes. |  | 40 | Rmt. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
33 | Providing and laying natural cobble stone flooring (100x100) and thickness is (80-100)mm, laid over 25mm average thickness of cement mortar 1:3 (1 cement : 3 sand) laid over and i/c pointing and curing complete as per the design patteren and colour approved upto all leads and lifts and as per direction of Engineer-In-Charge. |  | 110 | sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
34 | Providing and laying Slate size (300x200)mm, with 15mm average thick slate flooring, 20 mm (average) thick base of cement mortor 1:4 (1 cement :4 sand) laid over and jointed with grey cement slurry mixed with pigment to match the shade of the slab. including rubbing and polishing complete and carriage of material up to all leads and lifts and as per direction of Engineer in Charge. |  | 60 | sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
35 | Painting two coats (excluding priming coat) on new steel and other metal surface under coat with ready mixed paint brusing to give an even shade including cleaning the surface all dirt, dust and other foreign matter with readymixed paint other than white. |  | 176.28 | sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
36 | Pointing on Random rubble uncoursed stone masonary with cement mortar 1:3 (1 cement :3 sand) raised and cut pointing including carriage of material upto all leads and lifts and as per direction of Engineer in Charge. |  | 55 | sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
37 | 15mm Cement plaster in cement mortar 1:5 (1 cement : 5 sand) in single coat on the rough side of brick/ concrete/ stone walls for interior plastering upto floor two level including arrises,internal rounded angles, chamfers and/or rounded angles not exceeding 80mm in girth and finished even and smooth. |  | 345.9 | sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
38 | 15mm cement plaster in cement mortar 1:5 (1 cement :5 sand) in two coats backing coat 10mm and finishing coat 5mm thick on fair side of brick masonry/stone masonry/concrete walls for interior plastering upto floor two level including arrises,internal rounded angles, chamfers and/or rounded angles not exceeding 80mm in girth and finished even and smooth. |  | 345.9 | sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
39 | Providing and laying 12mm thick matt finished vitrified tile of size 600x600mm having water absorption less than 0.5% and conforming to IS: 15622 of approved make in all colours and shades in out door floors such as footpath, court yard multi models etc., laid on 20mm thick base of cement mortar 1:4 (1cement : 4 coarse sand) in all shapes & patterns including grouting the joints with white cement mixed with matching pigments etc. upto all leads and lifts and as per direction of Engineer-In-Charge. |  | 123.83 | sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
40 | White glazed tiles 6 mm thick in skirting risers of steps and dado 12 mm thick cement mortar 1:3 (1 cement :3 sand) and jointed with cement slurry,finished with flush pointing in white cement including carraige of materials with all leads and lifts as per Engineer-In- Charge. |  | 141.44 | sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
41 | 6mm Cement plaster to ceiling In Cement mortar 1:3 (1 Cement:3 Sand) |  | 92.96 | sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
42 | Distempering (two coats) with oil bound washable distemper of approved brand and manufacture and of required shade on undecorated wall surfaces to give an even shade over and including a priming coat with distemper primer of approved brand and manufacture after thoroughly brushing the surface free from mortar droppings and other foreign matter and also including preparing the surface even and sand papered smooth Priming coat with distemper primer. |  | 654.46 | sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
43 | Applying Birla white wall care putty over plaster surface after thoroughly brushing the surface free from mortar drops, dust, loose materials and other foreign matters sand papered smooth to give final matt finish to the surface complete. |  | 234.3 | sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
44 | Finishing wall with weather proof exterior grade emulsion of approved design (Apexultima) or its equivalent on undecorated wall surfaces (two coats) to give an even shade and final finish after thoroughly cleaning the surface to remove all dirt, dust and other foreign matter etc including sand paper smooth complete. |  | 234.3 | sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
45 | Providing and laying damp proof course to horizontal surface with cement mortar 1:2 (1 cement:2 sand) and curing complete with applying a coat of hot bitumen (mexphalt 80/100 or equivalent) using 1.70 kg. per square metre on damp proof course after cleaning the surface with a piece of cloth lightly soaked with kerosene. |  | 123.83 | sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
46 | Providing and laying four courses water proofing treatment with bitumen felt over roofs consisting of first and third courses of blow or / and residual bitumen applied hot at 1.45 kg per sq .m of area for each course second course of roofing felt type 3 grade 1 (hessian base self finished bitumen felt) and fourth and final course of stone grit 6 mm and down size or pea sized gravel spread at 6 cu.dm or 0.006 cu.m) per sq.m. Welding preparation of surface excluding grading complete |  | 104.1 | sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
47 | Providing and fixing anodised aluminium work for door, window, ventilators and partitions with extruded built up standard tubular and other sections of approved make conforming to IS 733 and IS 1285 anodised transparent or dyed to required shade according to IS 1868. (Minimum anodic coating of grade AC 15) fixed with rawlplugs and screws or with fixing clips, or with expansion hold fastners including necessary filling up of gaps at junctions, at top, bottom and sides with required PVC/neoprene felt etc. Aluminium sections shall be smooth, rustfree, straight, mitred and jointed mechanically where ever required including cleat angle, aluminium, snap beading for glazing/panelling C.P. brass/stainless steel screws. upto all leads and lifts and as per direction of Engineer-In-Charge. |  | 917.45 | kg |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
48 | Providing and fixing anodised aluminium work for door, window, ventilators for shutters of doors windows & ventilators including providing and fixing hinges/pivots and making provisions for fixing of fittings where ever required including the cost of PVC/neoprene gaskets as required (fittings and glazing/panelling shall be paid for separately).upto all leads and lifts and as per direction of Engineer-In-Charge. |  | 687.43 | kg |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
49 | Providing and fixing glazing glass panes of 5.50mm thickness (weight not less than 13.75kg/sqm). in aluminium door, window, ventilator shutters and partition etc with PVC/neoprens gasket etc. complete as per the architectural drawings and the directions of Engineer-In_charge (cost of aluminium snap beading shall be paid in basic item). upto all leads and lifts and as per direction of Engineer-In-Charge. |  | 16.56 | sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
50 | Providing and fixing 8mm thick cement bonded particle board (bison board) partitions with butt jointing and nails (frame work and cover fillets to be measured and paid for separately). |  | 45.31 | sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
51 | Providing and fixing M.S. pressed but hinges with necessary screws. (Copper oxidised) 125x65x2.12mm |  | 76 | no.s |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
52 | Providing fixing bright finished brass tower bolts (barrel type) with screws etc. complete. 250x10 mm |  | 14 | no.s |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
53 | Providing fixing bright finished brass tower bolts (barrel type) with screws etc. complete. 100x10 mm |  | 30 | no.s |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
54 | Providing and fixing bright finished brass 100mm. Mortice latch and lock and a pair of levers, handles with necessary screws etc. complete (indian make of approved quality) |  | 10 | no.s |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
55 | Providing and fixing 125mm bright finished brass handles with screws etc. complete. |  | 40 | no.s |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
56 | Providing and fixing high pressure 110 mm dia. PVC Spigot and Socket, waste and ventilating pipe ISI Marked including fixing with approved adhesive complete. |  | 125 | Rmt. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
57 | Providing and fixing high pressure 150 mm dia. PVC Spigot and Socket, waste and ventilating pipe ISI Marked including fixing with approved adhesive complete. |  | 135 | Rmt. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
58 | Providing and fixing high pressure 75 mm dia. PVC Spigot and Socket, waste and ventilating pipe ISI Marked including fixing with approved adhesive complete. |  | 75 | Rmt. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
59 | Providing and fixing 110 mm dia. PVC Plain bend ISI Marked including fixing with approved adhesive complete. |  | 35 | no.s |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
60 | Providing and fixing 110 mm dia. PVC door bend with oval acess door, insertion rubber washer 3 mm thick bolts and nuts ISI marked complete including fixing with approved adhesive complete. |  | 25 | no.s |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
61 | Providing and fixing 110 mm X 75 mm. PVC floor trap ISI Marked of self cleaning design including fixing with approved adhesive, cost of cutting amd making good the walls and floor etc. complete |  | 50 | no.s |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
62 | Providing and fixing 110 mm dia. PVC Collar ISI Marked including fixing with approved adhesive complete. |  | 40 | no.s |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
63 | Providing and fixing PVC Clamps ISI Marked of approved design with steel screw and rawal plug etc.complete :-110 mm dia PVC clamp. |  | 50 | no.s |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
64 | Providing and fixing square-mouth PVC gully trap complete with C.I. grating brick masonry chamber with water tight C.I. cover with frame of 300 x300 mm size (inside) the weight of cover to be not less than 4.50 kg and frame to be not less than 2.70 kg as per standard design. |  | 36 | no.s |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
65 | Making connection of drain or sewer line with existing manhole including breaking into and making good the walls, floors with cement concrete 1:2:4 mix (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) cement plastered on both sides with cement mortar 1:3 (1 cement : 3 coarse sand), finished with a floating coat of neat cement and making necessary channels for the drain etc. complete. |  | 3 | no.s |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
66 | Constructing brick masonry manhole in cement mortar 1:4 ( 1 cement : 4 coarse sand ) with R.C.C. top slab with 1:2:4 mix (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size), foundation concrete 1:4:8 mix (1 cement : 4 coarse sand : 8 graded stone aggregate 40 mm nominal size), inside plastering 12 mm thick with cement mortar 1:3 (1 cement : 3 coarse sand) finished with floating coat of neat cement and making channels in cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) finished with a floating coat of neat cement complete as per standard design: Inside size 90x80 cm and 45 cm deep including RCC cover with frame (light duty) 560 mm diameter ,total weight of cover and frame to be not less than 38 kg (weight of cover 23 kg and weight of frame 15 kg) :With common burnt clay F.P.S. (non modular) bricks of class designation 7.5 |  | 17 | no.s |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
67 | Providing and fixing S.F.R.C heavy duty manhole cover Circular shape 560 mm dia precast R.C.C. manhole cover with frame - H.D. - 20 including carriage of material upto all leads and lifts of the materials, as approval of Engg. In Charge. |  | 5 | No.s |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
68 | Providing and fixing white vitreous china flat back or wall corner type lipped front Proton UR URS-24-M,urinal basinwith integrated sensor of (280X250X500) mm and 340x410x265 mm sizes respectively with automatic flushing cistern with standard flush pipe and C.P. brass spreaders with brass unions and G.I clamps complete, including painting of fittings and brackets, cutting and making good the walls and floors wherever required : One urinal basin with 5 litre white P.V.C. automatic flushing cistern. |  | 12 | no.s |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
69 | Providing and fixing division plate for urinals 600mmx330mm size i/c all necessary plugs screws and fitting fixtures with carriage of all leads and lifts of the materials, as approval of Engg. In Charge. |  | 13 | no.s |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
70 | Providing and fixing vitreous wash down floor mounted one piece water closet (WC) with senson based flushing techonology S trap-225mm with siphonic flushing and soft closed seat cover first water closet with touch free flushing touchless hygienic operating pressure 0.5 bar-5 bar working temperature 1degree celcius -55 degree celcius having sensing distance 2-4 inches size (475x370x420)mm white colour studio set along with C.P.JET,SEAT COVER, CISTERN and twin flushing valves etc. complete in all respect, water closet ( European Type - WC pan) with integral 'p' or 's' trap including jointing the trap with soil pipe in cement mortar 1:1 ( one cement, one sand) (with cistern, seat cover and flush fitting) Star White including carriage of materials upto all leads and lifts and as per direction of Engineer-In-Charge. |  | 8 | no.s |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
71 | Providing & fixing White vitreous china water closet squatting pan (Indian type) Long pattern W.C Pan of size 580x440 mm, along with Adjustable Vetrious China Cistern with fittings & White plastic seat (solid)with lid C.P.brass hinges and rubber buffer at site complete with all operations including all necessary materials, labour all complete as per the direction of Engineer-in charge. |  | 12 | no.s |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
72 | Providing and fixing Health faucet ABS with rubbit cleaning system, flexible tube upto 1.25 mtr. long PVC Flexible tube & ABS wall hook to extended wall mounted type W.C. of quality and make as approved by Engineer - in - charge. |  | 16 | no.s |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
73 | Providing and fixing Oval/Rectangular Shape wash basin on R.C.C Slab, including 15 mm C.P. brass royale sensor basin tap (RESF-103,AC+DC), low voltage alarm Shock Resistant Anti-interference Auto cutt off, Battery life cycle:3000 cycles sensing distance:0-6 inches, 32 mm C.P. brass waste of standard pattern, and making good the walls wherever require White Vitreous China oval shape Wash basin size 540x410 mm with 15 mm C.P. brass pillar taps. |  | 20 | no.s |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
74 | Providing and fixing 15 mm nominal bore, C.P. brass bib cock of approved quality conforming to IS:8931 : including carriage of material to all leads and lifts and as per direction of Engineer In Charge. |  | 22 | no.s |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
75 | Providing and fixing 32 mm dia P.V.C. waste pipe for sink or wash basin including P.V.C. waste fittings complete.including carriage of material upto all leads and lifts and as per direction of Engineer In Charge. |  | 29 | no.s |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
76 | Providing and fixing 25mm nominal size gun metal gate valve with C.I. wheel of approved quality (screwed end) including carriage of material to all leads and lifts and as per direction of Engineer-In-Charge. |  | 11 | no.s |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
77 | Providing and fixing in tranches galvanized mild steel tubes (Medium Grade) as per IS Code 1239 tube fitting exacavation for tranches will be measured and paid saprately including carriage of material up to all leads and lifts and as per direction of Engineer-In-charge.
77.1 | 15mm nominal bore |  | 160 | rmt. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
77.2 | 20mm nominal bore |  | 105 | rmt. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
78 | Providing and fixing 110 mm pipes P or S Trap for water closet Sand cast iron including carriage of material up to all leads and lifts and as per direction of Engineer In Charge. |  | 15 | no.s |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
79 | Providing and fixing (500 X 700 X 5)mm Readymade mirror of superior glass mounted on wodden plugs with C.P. brass screw including carriage of material upto all leads and lifts and as per direction of Engineer In Charge |  | 21 | no.s |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
80 | Providing and fixing Corner Glass shelves (medium) including carriage of material upto all leads and lifts and as per direction of Engineer incharge |  | 21 | no.s |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
81 | Providing and fixing CP brass soap dish with CP brass brackets fixed to wooden cleats with CP brass screws including carriage of material to all leads and lifts and as per direction of Engineer In Charge. |  | 25 | no.s |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
82 | Providing & Fixing in position best Indian make coat and hat robe hooks fixed into wall with c.p. brass screws and rawl plugs etc. complete including cutting and making good the walls etc.including carriage of material up to all leads and lifts and as per direction of Engineer in Charge. |  | 15 | no.s |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
83 | Providing and fixing C.P. Paper Holder including carriage of material up to all leads and lifts and as per direction of Engineer In Charge. |  | 18 | no.s |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
84 | Providing and fixing PVC connections pipe with brass unions 45cm length 15 mm nominal bore including carriage of material in all leads and lifts and as per direction of Engineer In Charge. |  | 60 | no.s |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
85 | Providing and fixing brass full way valve with wheel 15mm size including carriage of material in all leads and lifts.
85.1 | 15mm dia |  | 12 | no.s |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
85.2 | 20 mm dia |  | 12 | no.s |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
86 | Providing and fixing PVC Tee 110mm dia, including carriage of material in all leads and lifts and as per direction of Engineer In Charge. |  | 45 | no.s |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
87 | Kota stone slab flooring 20 mm (average) thick base of cement mortar 1:4 (1 cement :4 sand) laid over and jointed with grey cement slurry mixed with pigment to match the shade of the slab and 20 mm thick in risers of steps, skirting dado and pillars laid on 12 mm (average) thick cement mortar 1:4 (1 cement :4 sand). including rubbing and polishing complete.upto all leads and lifts and as per direction of Engineer-In-Charge. |  | 48.83 | sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
88 | Providing and laying 20mm.thick granite stone in flooring/RCC counter 20mm(average) thickness base of cement mortar 1:3(1cement: 3 sand) laid over and jointed with grey cement slurry mixed with pigment to match the shade of granite stone i/c rubbing and polishing complete. upto all leads and lifts and as per direction of Engineer-In-Charge. |  | 8.34 | sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
89 | Providing and fixing PVC water storage tank 1000 litres net capacity tank, of ISI : 12701 marked,G.I. inlet and outlet connection, 15mm nominal bore ball valve and mosquito proof PVC cover with locking arrangement including hoisting upto a height of 10 metres above ground level with carriage of material up to all leads and lifts and as per direction of Engineer -In-Charge. |  | 6 | no.s |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
90 | Providing and fixing 11 litr. Capacity of (10 X 14)inch, Stainless steel perforated swing Dustbins with cover removable lid round shape silver color slim and fingerprint-proof finish as/techincal specifications. |  | 10 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
91 | Providing and fixing size of (14X 28)inch, Stainless steel swing Dustbins with cover removable lid round shape silver color slim and fingerprint-proof finish as/techincal specifications. |  | 10 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
92 | Supplying and stacking of good earth at site including royalty and carriage upto 100 metres on head lead and 1 km. By mechanical transport (earth measured in stacks will be reduced by 20% for payment) |  | 58.2 | cum |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
93 | Supplying and stacking sludge at site including royalty and carriage upto 100 metres by head load and 1 km. By mechanical transport (Sludge measured in stacks will be reduced by 8% for payment) |  | 58.2 | cum |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
94 | Mixing earth and sludge or manure in proportion specified or directed including carriage of material up to all leads and lifts and as per direction of Engineer in Charge. |  | 58.2 | cum |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
95 | Providing and fixing Neelgiri/Mexican grass turf with earthy 50mm to 60mm thickness of existing ground prepared with proper level and ramming with required tools wooden (Dhurmos) and than rolling the surface with light roller make the surface smoothen and light, watering with sprinkler and maintenance for 30 days or more till the grass establish properly as per direction of Engineer- In-Charge. |  | 194 | sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
96 | Wiring for light point / fan point / exhaust fan / call bell point with 1.5 Sq. mm. PVC insulated heat resistant flame retardant (HRFR) and low smoke single core (flexible) copper conductor cable in surface/recessed PVC conduit with modular switch, modular plates, suitable G.I. box and earthing the light point with 1.5 Sq.mm. HRFRLS/PVC insulated single core copper conductor cable as required. Group-C |  | 63 | Point |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
97 | Supplying and fixing following rating Modular switch /socket in the existing switch box / cover plate including connections etc. as required. S.P. 5/ 6 Amps one way Modular switch. |  | 12 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
98 | Supplying and fixing following rating Modular switch / socket in the existing switch box / cover plate including connections etc. as required 5 pin, 5/ 6 Amps Modular socket outlet. |  | 12 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
99 | Supplying and fixing G.I. Modular box of (140mm x78mmx50mm) size with modular plate and cover in recess including providing and fixing 6 pin 15/16 amps modular socket outlet and 15/16 amps, modular switch, connections etc. as required. |  | 12 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
100 | Wiring for light plug with 2x1.5 Sq. mm. PVC insulated heat resistant flame retardant (HRFR) and low smoke single core (flexible) copper conductor cable in surface/recessed PVC conduit along with 1 No.1.5 Sq.mm. HRFRLS/PVC insulated single core copper conductor cable for earthing as required. |  | 96 | Meter |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
101 | Wiring for power plug with 2x4 Sq. mm. PVC insulated heat resistant flame retardant (HRFR) and low smoke single core (flexible) copper conductor cable in surface/recessed PVC conduit along with 1 No.4 Sq.mm. HRFRLS/PVC insulated single core copper conductor cable for earthing as required. |  | 288 | Meter |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
102 | Supplying and fixing ceiling rose on the existing junction box / wooden block including connections etc. as required. |  | 23 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
103 | Providing and fixing concealed LED Down Light with 15 Watt, complete with all accessories, connections, testing and commissioning etc. as required.As per direction of Engineer in Charge. |  | 40 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
104 | Providing, Installation, testing and commissioning of ceiling fan with regulator, including wiring the down rods of standard length (up to 30 cm) with 16/0.20 mm twin twisted flexible, cotton braided, copper cable, including providing and fixing phenolic laminated sheet cover on the fan box and earthing etc. as required:- Ceiling Fan 1200 mm sweep, Category-A |  | 1 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
105 | Providing and installation of exhaust fan of following sizes in the existing opening, including making the hole to suit the size of the above fan, making good the damages, connections, testing and commissioning etc. as required:- Exhaust Fan, Heavy duty, 300 mm sweep |  | 22 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
106 | Supplying and drawing following size of PVC insulated, heat resistant, flame retardant (HRFR) and low smoke single core (flexible) copper conductor cable in existing surface / recessed, Steel/PVC conduit as required.PVC insulated HRFR LS Copper conductor 6.0 Sq. mm. 3x6.0 Sq. mm. |  | 30 | Meter |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
107 | Supplying and fixing of following way, single pole and neutral sheet steel MCB distribution board, 240 volts, on surface / recess, complete with tinned copper bus- bar, wire-set, neutral link, earth bar, din-bar, detachable gland plate, blanking plate, cable, identification labels interconnections, phosphatized and powder painted, including earthing etc. as required:-Double door-6 way |  | 3 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
108 | Supplying and erection of 6 amps. to 32 amps. rating, 10 KA breaking capacity, 240 volts, 'C' curves, miniature circuit breaker of following poles in the existing MCB DB complete with connections etc. as required:-Double pole. Cat-A. |  | 3 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
109 | Supplying and erection of 6 amps. to 32 amps. rating, 10 KA breaking capacity, 240 volts, 'C' curves, miniature circuit breaker of following poles in the existing MCB DB complete with connections etc. as required:-Single pole. Cat-A. |  | 12 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
Total in Figures | [51 empty] | 0 | 0 | INR Zero Only | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | Zero Only
Quoted Rate in Words |  | INR Zero Only

## Macros
Please Enable Macros to View BoQ information