## BoQ1 (hidden)
Item Rate BoQ
BoQ_Ver3.0 | Item Rate | Normal | INR Only | INR
Select, Excess (+), Less (-) |  | Less (-)
Tender Inviting Authority: MD cum CEO, Dharamshala Smart City Limited
Name of Work:Redevelopment of Mcleodganj Bazar
Contract No:DSCL/08/2021
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | RATE In Figures To be entered by the Bidder in Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT With all Taxes in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53 | 54 | 55
1 | Demolishing stone rubble masonry manually/ by mechanical means including stacking of serviceable material and disposal of unserviceable material within all leads and lifts and as per direction of Engineer-in-charge : In Cement Mortar |  | 40 | Cum |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2 | Demolishing brick work manually/ by mechanical means including stacking of serviceable material and disposal of unserviceable material upto lead and lifts as per direction of Engineer-in-charge. |  | 113.17 | Cum |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
3 | Demolishing R.C.C. work manually/ by mechanical means including stacking of steel bars and disposal of unserviceable material upto all leads and lifts and as per direction of Engineer-in-charge : |  | 27 | Cum |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
4 | Demolishing cement concrete manually/ by mechanical means including disposal of material withinwithin all leads and lifts and as per direction of Engineer-in-charge |  | 150.31 | Cum |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
5 | Dismantling doors, windows and clerestory windows (steel or wood) shutter including chowkhats, architrave, holdfasts etc. complete and stacking within all leads and lifts and as per direction of Engineer-in-charge : |  | 150.31 | Cum |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
6 | Dismantling steel work in built up sections in angles, tees, flats and channels including all gusset plates, bolts, nuts, cutting rivets, welding etc. including dismembering and stacking within within all leads and lifts and as per direction of Engineer-in-charge . |  | 5000 | Kg |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
7 | Dismantling G.I roofing including ridges, hips, valleys and gutters etc., and stacking the material withinwithin all leads and lifts and as per direction of Engineer-in-charge . |  | 671.57 | Sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
8 | Disposal of building rubbish / malba / similar unserviceable, dismantled or waste materials by mechanical means, including loading, transporting, unloading to approved municipal dumping ground within all leads and lifts and as per direction of Engineer-in-charge : |  | 223.92 | Cum |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
9 | Earth work in excavation by mechanical means (Hydraulic excavator) / manual means in foundation trenches or drains (not exceeding 1.5 m in width or 10 sqm on plan), including dressing of sides and ramming of bottoms, lift up to 1.5 m, including getting out the excavated soil and disposal of surplus excavated soil as directed upto all leads and lifts and as per direction of Engineer-in-charge. |  | 589.3 | Cum |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
10 | Providing and filling available excavated earth (excluding rock) in trenches, plinth, sides of foundations etc. in layers not exceeding 20cm in depth, consolidating each deposited layer by ramming and watering,within all leads and lifts and as per direction of Engineer-in-charge . |  | 376.67 | Cum |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
11 | Providing and fililing, boulder filling dry hand packed tightly as in behind Retaining Structure & plinth filling Complete all as per drawing & technical specification upto all leads and lifts and as per direction of Engineer-in-charge . |  | 108.16 | Cum |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
12 | Providing and filling with coarse sand bedding layer below pipe and consolidating each deposited layer by ramming and watering, including carriage of material upto all leads and lifts and as per direction of Engineer-in-charge. |  | 36.72 | cum |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
13 | Providing and construction of Random rubble masonry/polygonal rubble masonry of Cement Mortar 1:4(1 cement:4 sand) (uncoursed/brought to courses) with hard stones of approved quality in foundation and plinth/Retaining wall etc. including levelling up with cement concrete 1:6:12 (1 cement :6 sand : 12 graded stone aggregate 20mm nominal size) at plinth level upto all leads and lifts and as per direction of Engineer-in-charge . |  | 17.73 | Cum |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
14 | Providing and laying cement concrete 1:3:6(1cement : 3 sand : 6 graded stone aggregate 40 mm nominal size) and curing complete excluding cost of form work in: Foundation and plinth upto all leads and lifts and as per direction of Engineer-in-charge . |  | 79.65 | Cum |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
15 | Providing form work with steel plates 3.15mm.thick welded with angle iron in frame 30x30x5mm. so as to give a fair finish including centring, shuttering, strutting and propping etc. with wooden battens and ballies, height of propping and centring below supporting floor to ceiling not exceeding 4 Mtr. and removal of the same for insitu-reinforced concrete & plain concrete work in:within all leads and lifts and as per direction of Engineer-in-charge :
15.1 | Foundation, footings basis of columns etc. and mass concrete. |  | 415.63 | Sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
15.2 | Beams, cantilever, girders and lintels.:-Sides and Soffits of beams, beam haunching's, cantilever girders, bressummers and lintels not exceeding 1 Metre in depth:-in all heights from floor. |  | 149.3 | Sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
15.3 | Flat surfaces such as soffits of suspended floors, roofs, landings and the like:-Floors etc.upto 200mm. in thickness. |  | 234.07 | Sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
15.4 | Stair cases with sloping or stepped soffits excluding landing. |  | 77.7 | Sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
15.5 | Edges of slabs and breaks in floors and walls:-Under 20 cm wide |  | 130.85 | Rmt. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
16 | Providing and laying in position ready mixed M-25 grade concrete for reinforced cement concrete work, using cement content as per approved design mix, manufactured in fully automatic batching plant and transported to site of work in transit mixer for all leads, having continuous agitated mixer, manufactured as per mix design of specified grade for reinforced cement concrete work, including pumping of R.M.C. from transit mixer to site of laying , excluding the cost of centring, shuttering finishing and reinforcement, including cost of admixtures in recommended proportions as per IS : 9103 to accelerate/ retard setting of concrete, improve workability without impairing strength and durability within all leads and lifts and as per direction of Engineer-in-charge :.:-All Works up to Plinth Level:-Foundation Footing, Base of Column etc. (cement content should not be less than 330kg/cum) |  | 56 | Cum |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
17 | Providing and laying in position ready mixed M-25 grade concrete for reinforced cement concrete work, using cement content as per approved design mix, manufactured in fully automatic batching plant and transported to site of work in transit mixer for all leads, having continuous agitated mixer, manufactured as per mix design of specified grade for reinforced cement concrete work, including pumping of R.M.C. from transit mixer to site of laying , excluding the cost of centring, shuttering finishing and reinforcement, including cost of admixtures in recommended proportions as per IS : 9103 to accelerate/ retard setting of concrete, improve workability without impairing strength and durability within all leads and lifts and as per direction of Engineer-in-charge :.:-All Works Above Plinth Level (cement content should not be less than 330kg/cum) |  | 92.16 | Cum |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
18 | Providing Tor steel reinforcement of Grade Fe-550D, for R.C.C. work including bending,binding, binding wire and placing in position complete up to any level including carriage of materials upto all leads and lifts and as per direction of Engineer-in-charge . |  | 25060.65 | Kg |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
19 | Providing and laying autoclaved aerated cement blocks masonry with 150mm/200/230mm/300 mm thick AAC blocks in super structure above plinth level up to any floor level with RCC band at sill level and lintel level with approved block laying polymer modified adhesive mortar all complete as per direction of Engineer-in-Charge. (The payment of RCC band and reinforcement shall be made for separately). |  | 93.59 | Cum |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
20 | Providing, supplying and fixing rolling shutters of 80x1.25 mm M.S. laths with 1.25 mm thick top cover of approved make, made of required size M.S. laths, interlocked together through their entire length and jointed together at the end by end locks, mounted on specially designed pipe shaft with brackets, side guides and arrangements for inside and outside locking with push and pull operation complete, including the cost of providing and fixing necessary 27.5 cm long wire springs manufactured from high tensile steel wire of adequate strength conforming to IS: 4454 - part 1 and M.S. top cover of required thickness for rolling shutters including carriage of materials upto all leads and lifts and as per direction of Engineer-in-charge . |  | 139.86 | Sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
21 | Providing and fixing ball bearing for rolling shutters complete all as per drawing and technical specification and as directed by Engineer-in-charge. |  | 148 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
22 | Extra for providing grilled rolling shutters manufactured out of 8 mm dia M.S. bar instead of laths as per design approved and including carriage of materials upto all leads and lifts and as per direction of Engineer-in-charge . (area of grill to be measured). |  | 192.31 | Sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
23 | Providing and fixing 12 mm thick frameless toughened glass door shutter of approved brand and manufacture, including providing and fixing top & bottom pivot & double action hydraulic floor spring type fixing arrangement and making necessary holes etc. for fixing required door fittings, all complete including carriage of materials upto all leads and lifts and as per direction of Engineer-in-charge . (Door handle, lock and stopper etc.to be paid separately). |  | 314.21 | Sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
24 | Providing and filling the gap in between aluminium/ stone/ wood frame and adjacent RCC/Brick/ Stone/ wood/ Ceramic/ Gypsum work by providing weather/structural non sag elastomeric PU sealant over backer rod of approved quality as per architectural drawings and direction of Engineer-in-charge complete, complying to ASTM C920, DIN 18540-F & ISO 11600:-Up to 5 mm depth and 5 mm width upto all leads and lifts and as per direction of Engineer-in-charge . |  | 475.8 | Meter |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
25 | Providing fixing 600 mm long Stainless Steel Pull Handle for glass doors including all accessories required complete all as per drawing and manufacturer specifications including carriage of materials upto all leads and lifts and as per direction of Engineer-in-charge . |  | 35 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
26 | 15mm Cement plaster with Cement Mortar 1:6 (1Cement:6 Sand) in single coat on the rough side of brick/ concrete/stone walls for interior/ exterior plastering up to any floor level including arrises, internal rounded angles, chamfers and/or rounded angles not exceeding 80mm in girth and finished even and smooth including carriage of materials upto all leads and lifts and as per direction of Engineer-in-charge . |  | 1475.7 | Sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
27 | 6mm Cement plaster to ceiling:-In Cement mortar 1:3(1 Cement:3 Sand) complete all as drawing and technical specification ncluding carriage of materials upto all leads and lifts and as per direction of Engineer-in-charge . |  | 234.07 | Sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
28 | Applying Birla white wall care putty over plaster surface after thoroughly brushing the surface free from mortar drops, dust, loose materials and other foreign matters sand papered smooth to give final matter finish to the surface complete ncluding carriage of materials upto all leads and lifts and as per direction of Engineer-in-charge . |  | 1710 | Sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
29 | Applying priming with cement primer coat on new concrete / masonry / asbestos cement / plastered surfaces after and including preparing the surface by thoroughly cleaning oil,grease,dirt and other foreign matter and sand papering as required with :-Ready mixed Cement primer ncluding carriage of materials upto all leads and lifts and as per direction of Engineer-in-charge . |  | 1710 | Sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
30 | Wall painting (two coats) with acrylic emulsion paint of approved brand and manufacture for interior grade on undecorated concrete/stone/plastered wall surfaces to give an even shade including t thoroughly brushing the surface free from mortar dropping and other foreign matter and sand papered smooth including applying of putty a required for metling the surface including carriage of materials upto all leads and lifts and as per direction of Engineer-in-charge . |  | 1710 | Sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
31 | Providing and laying vitrified floor tiles in 600x600mm sizes (thickness to be specified by the manufacturer) with water absorption less than 0.08% and conforming to IS: 15622, of approved make, in all colours and shades, laid on 20mm thick cement mortar 1:4 (1 cement : 4 coarse sand), jointing with grey cement slurry @ 3.3 kg/ Sqm including grouting the joints with white cement and matching pigments etc., complete including carriage of materials upto all leads and lifts and as per direction of Engineer-in-charge . |  | 381.3 | Sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
32 | Providing and fixing 18 mm thick gang saw cut, mirror polished, premoulded and prepolished, machine cut for kitchen platforms, vanity counters, window sills, facias and similar locations of required size, approved shade, colour and texture laid over 20 mm thick base cement mortar 1:4 (1 cement : 4 coarse sand), joints treated with white cement, mixed with matching pigment, epoxy touch ups, including rubbing, curing, moulding and polishing to edges to give high gloss finish etc. complete at all levels including carriage of materials upto all leads and lifts and as per direction of Engineer-in-charge .
32.1 | Granite of any colour and shade:-Area of slab up to 0.50 sqm including carriage of materials upto all leads and lifts and as per direction of Engineer-in-charge . |  | 19.63 | Sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
32.2 | Granite of any colour and shade:-Area of slab Over 0.50 sqm including carriage of materials upto all leads and lifts and as per direction of Engineer-in-charge . |  | 2.64 | Sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
33 | Providing and construction of steel work welded in built-up sections, trusses and framed work, including cutting, hoisting, fixing in position and applying a priming coat of red lead paint:-In beams joists channels ,angles , tee ,flats with connection plates or angle cleats as in main and cross beems,hip and jack rafters, purlins connected to common rafters and the like including carriage of materials upto all leads and lifts and as per direction of Engineer-in-charge . |  | 88 | Qtl. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
34 | Providing and construction of steel work welded in built-up sections, trusses and framed work, including cutting,hoisting,fixing in position and applying a priming coat of red lead paint:-In grating, Framed guards, bars,ledders railings, brackets & similar works. |  | 13 | Qtl. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
35 | Painting two coats (excluding priming coat)on new steel and other metal surface under coat with ready mixed paint brushing to give an even shade including cleaning the foreign matter :-With ready mixed paint other than white |  | 891 | Sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
36 | Providing and fixing 0.60mm thick prepainted steel sheet in roofing with hot dipped metallic zinc coated sheet with top coat of regular modified polyester (RNP) organic coating of 20 microns over 5 microns primer coating to back coat of polyester of 5 microns over 5 microns primer coating i/c fixing with prepainted iron J or L hooks, bolts and nuts 6mm dia metre with prepainted limpet and rubber washers complete with all accessories' as required as per the direction of Engineer-in-charge. |  | 555 | Sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
37 | Providing and fixing ridges or hips 60 cm overall with 0.60mm thick prepainted steel sheets in roofing with hot dipped metallic zinc coated sheets with top coat of regular modified polyester organic coating of 20 microns over 5 microns primer coating + back coat of polyester of 5 microns over 5 microns primer coating i/c fixing with prepainted iron J or L hooks, bolts & nuts 6mm dia & prepainted G.I. limpet and bitumen washers complete with all accessories as required as per the direction of Engineer in Charges. |  | 205 | Rmt. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
38 | Providing and fixing 0.80mm thick sheet. 15 cm. wide 45 cm. overall semi-circular plain G.I. sheet gutter with iron brackets 40x3mm size bolts and nuts and washers etc. including making necessary connections with rain water pipe complete as per design including carriage of materials upto all leads and lifts and as per direction of Engineer-in-charge . |  | 219 | Rmt. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
39 | Providing and fixing M.S. BP Sheet 1.66mm to 2.0mm thick in eaves board /facia /soffits/ ceiling including cutting, fixing and welding to steel roof members and applying a coat of red lead primer complete as per the instruction including carriage of materials upto all leads and lifts and as per direction of Engineer-in-charge . (Base members of steel work shall be measured & paid separately) |  | 422 | Sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
40 | Supplying and fixing GRC (Glass Reinforced Concrete) Decorative Corbel Bracket on shop front complete all as per drawing and technical specification and as directed by Engineer-in-charge |  | 60 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
41 | Supplying and laying of 120 mm dia (OD-120 mm & ID-103 mm nominal) size DWC HDPE pipe ISI marked along with all accessories like socket, bend, couplers etc. conforming to IS 14930, Part II complete with fitting and cutting, jointing etc. Direct in ground (75 cm below ground level) excluding excavation and refilling the trench sand cushioning and protective covering etc, complete as required. |  | 748 | Rmt. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
42 | Providing and back filling behind abutment, wing wall and return wall complete as per drawing and Technical Specification including carriage of materials upto all leads and lifts and as per direction of Engineer-in-charge . |  | 122.4 | Cum |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
43 | Taking out existing CC interlocking paver blocks from footpath/Road central verge, including removal of rubbish etc., disposal of unserviceable material to the dumping ground, for which payment shall be made separately and stacking of serviceable material up to all lead and lift as per direction of Engineer-in- Charge. |  | 680 | Sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
44 | Providing and laying 80 mm thick factory made chamfered edge Cement Concrete paver blocks of M-40 grade with approved colour design and pattern in footpath, parks, lawns, drive ways or light traffic parking etc, of required strength, thickness & size/ shape, made by table vibratory method using PU mould, laid in required colour & pattern over 25mm thick cement mortar 1:4 (1 cement : 4 sand), compacting and proper embedding / laying of inter locking paver blocks into the sand bedding layer through vibratory compaction by using plate vibrator, filling the joints with sand and cutting of paver blocks as per required size and pattern, finishing and sweeping extra sand. complete all as per direction of Engineer-in-Charge. |  | 1656 | Sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
45 | Providing and fixing 80mm G.I. pipes for external work complete with G.I. fittings including trenching and refilling etc ncluding carriage of materials upto all leads and lifts and as per direction of Engineer-in-charge . |  | 408 | Rmt. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
46 | Supply and installation of Precast RCC Benches of size 1500mm long, 450mm wide and 415mm in height with 18mm thick polished granite finish on the top of bench. Thickness of Leg 165mm and Slab thickness is 65mm complete ncluding carriage of materials upto all leads and lifts and as per direction of Engineer-in-charge . |  | 15 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
47 | Supply and installation of Precast RCC Drain Cover of M-25 Grade including steel and form work over existing drain complete all as per drawing and technical specification and as directed by Engineer-in-charge. |  | 45.9 | Cum |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
48 | Providing and wiring for light point / fan point / exhaust fan / call bell point with 1.5 Sq. mm. PVC insulated heat resistant flame retardant (HRFR) and low smoke single core (flexible) copper conductor cable in surface/recessed PVC conduit with modular switch, modular plates, suitable G.I. box and earthing the light point with 1.5 Sq.mm. HRFRLS/PVC insulated single core copper conductor cable as required. Group-C ncluding carriage of materials upto all leads and lifts and as per direction of Engineer-in-charge . |  | 229 | Point |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
49 | Supplying & fixing of G.I. modular boxes of following sizes along with modular base and cover plate for modular switches in recess as required:- 4 modules (140mmx78mmx50mm) ncluding carriage of materials upto all leads and lifts and as per direction of Engineer-in-charge . |  | 29 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
50 | Supplying and fixing following rating Modular switch /socket in the existing switch box / cover plate including connections etc. as required. S.P. 15/ 16 Amps one way Modular switch. |  | 29 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
51 | Supplying and fixing following rating Modular switch /socket in the existing switch box / cover plate including connections etc. as required. 6 pin,15/16 Amps Modular socket outlet ncluding carriage of materials upto all leads and lifts and as per direction of Engineer-in-charge . |  | 29 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
52 | Supplying and fixing following rating Modular switch /socket in the existing switch box / cover plate including connections etc. as required. S.P. 5/ 6 Amps one way Modular switch ncluding carriage of materials upto all leads and lifts and as per direction of Engineer-in-charge . |  | 88 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
53 | Supplying and fixing following rating Modular switch / socket in the existing switch box / cover plate including connections etc. as required 5 pin, 5/ 6 Amps Modular socket outlet ncluding carriage of materials upto all leads and lifts and as per direction of Engineer-in-charge . |  | 88 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
54 | Supplying and fixing G.I. Modular box of (140mm x78mmx50mm) size with modular plate and cover in recess including providing and fixing 6 pin 15/16 amps modular socket outlet and 15/16 amps, modular switch, connections etc. as required ncluding carriage of materials upto all leads and lifts and as per direction of Engineer-in-charge . |  | 29 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
55 | Providing and wiring for light plug with 2x1.5 Sq. mm. PVC insulated heat resistant flame retardant (HRFR) and low smoke single core (flexible) copper conductor cable in surface/recessed PVC conduit along with 1 No.1.5 Sq.mm. HRFRLS/PVC insulated single core copper conductor cable for earthing as required ncluding carriage of materials upto all leads and lifts and as per direction of Engineer-in-charge . |  | 440 | Meter |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
56 | Providing and wiring for power plug with 2x4 Sq. mm. PVC insulated heat resistant flame retardant (HRFR) and low smoke single core (flexible) copper conductor cable in surface/recessed PVC conduit along with 1 No.4 Sq.mm. HRFRLS/PVC insulated single core copper conductor cable for earthing as required ncluding carriage of materials upto all leads and lifts and as per direction of Engineer-in-charge . |  | 440 | Meter |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
57 | Providing and wiring for power plug with 4x4 Sq. mm. PVC insulated heat resistant flame retardant (HRFR) and low smoke single core (flexible) copper conductor cable in surface/recessed PVC conduit along with 2 No.4 Sq.mm. HRFRLS/PVC insulated single core copper conductor cable for earthing as required ncluding carriage of materials upto all leads and lifts and as per direction of Engineer-in-charge . |  | 145 | Meter |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
58 | Supplying and fixing ceiling rose on the existing junction box / wooden block including connections etc. as required ncluding carriage of materials upto all leads and lifts and as per direction of Engineer-in-charge . |  | 145 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
59 | Providing and fixing concealed LED Down Light with 6 -7 Watt, complete with all accessories, connections, testing and commissioning etc. as required. As per direction of Engineer in Charge. |  | 158 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
60 | Supplying and fixing of following way, single pole and neutral sheet steel MCB distribution board, 240 volts, on surface / recess, complete with tinned copper bus- bar, wire-set, neutral link, earth bar, din-bar, detachable gland plate, blanking plate, cable, identification labels interconnections, phosphatized and powder painted, including earthing etc. as required:-Double door-8 way ncluding carriage of materials upto all leads and lifts and as per direction of Engineer-in-charge . |  | 88 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
61 | Supplying and fixing following rating, double pole (single phase & neutral) 240 volts, residual current circuit breaker (RCCB), having a sensitivity current up to 300 miliampers in the existing MCB DB complete with connections, testing and commissioning etc. as required. 25 Amps. Cat-A ncluding carriage of materials upto all leads and lifts and as per direction of Engineer-in-charge . |  | 30 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
62 | Supplying and erection of 6 amps. to 32 amps. rating, 10 KA breaking capacity, 240 volts, 'C' curves, miniature circuit breaker of following poles in the existing MCB DB complete with connections etc. as required:-Double pole. Cat-A ncluding carriage of materials upto all leads and lifts and as per direction of Engineer-in-charge . |  | 30 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
63 | Supplying and erection of 6 amps. to 32 amps. rating, 10 KA breaking capacity, 240 volts, 'C' curves, miniature circuit breaker of following poles in the existing MCB DB complete with connections etc. as required:-Single pole. Cat-A ncluding carriage of materials upto all leads and lifts and as per direction of Engineer-in-charge . |  | 120 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
64 | Providing and fixing of 25mm x 5 mm G I strip on surface or in recess for earthing connections etc. as required ncluding carriage of materials upto all leads and lifts and as per direction of Engineer-in-charge . |  | 100 | Meter |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
Total in Figures | [51 empty] | 0 | 0 | INR Zero Only | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | Zero Only
Quoted Rate in Words |  | INR Zero Only

## Macros
Please Enable Macros to View BoQ information