## BoQ1 (hidden)
Item Rate BoQ
BoQ_Ver3.0 | Item Rate | Normal | INR Only | INR
Select, Excess (+), Less (-) |  | Less (-)
Tender Inviting Authority: MD cum CEO, Dharamshala Smart City Limited
Name of Work:Development of State of the Art Multi-level Parking Near I.S.B.T Dharamshala
Contract No:DSCL/03/2021
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | RATE In Figures To be entered by the Bidder in Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT With all Taxes in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53 | 54 | 55
1 | Clearing jungle including uprooting of rank vegetation, grass,brush wood, trees and saplings of grith upto 30 cm. measured at a height of 1 metre above ground and removal of rubbish upto a any distance outside the periphery of the area cleared: |  | 3085.6 | Sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2 | Demolishing cement concrete manually/ by mechanical means including disposal of material upto any lead as per direction of Engineer - in - charge. |  | 120 | Cum |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
3 | Excavation in soil in Hilly Area by mechanical means including cutting and trimming of side slopes and disposing of excavated earth upto all leads and lifts as per Technical Specification Clause 1603.1 |  | 8588.3 | Cum |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
4 | Earth work in excavation by mechanical means (Hydraulic excavator)/ manual means over areas (exceeding 30 cm in depth, 1.5 m in width as well as 10 sqm on plan) including getting out and disposal of excavated earth upto all leads and lifts as directed by Engineer-in-charge.:-All kind of Soils and rocks |  | 7926.9 | Cum |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
5 | Earth work in excavation by mechanical means (Hydraulic excavator) / manual means in foundation trenches or drains (not exceeding 1.5 m in width or 10 sqm on plan), including dressing of sides and ramming of bottoms, lift upto any level, including getting out the excavated soil and disposal of surplus excavated soil as directed, within a lead of upto 10 km.:-All kind of Soils / Rocks for RWH MH, Fire Tank & Pump Room |  | 335 | Cum |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
6 | Filling available excavated earth (excluding rock) in trenches, plinth, sides of foundations etc. in layers not exceeding 20cm in depth, consolidating each deposited layer by ramming and watering, upto all leads and lifts and as directed by Engineer-in-charge. |  | 7817.2 | Cum |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
7 | Disposal of excavated surplus earth by mechanical means with lead upto 10 km and lift upto any level, as directed by Engineer-in-charge. |  | 6933.9 | Cum |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
8 | Providing and laying cement concrete 1:3:6(1cement : 3 sand : 6 graded stone aggregate 40 mm nominal size) and curing complete excluding cost of form work in i/c carriage of material in all leads & lifts:-Foundation and Plinth |  | 466.8 | Cum |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
9 | Providing form work with steel plates 3.15mm.thick welded with angle iron in frame 30x30x5mm. so as to give a fair finish including centring, shuttering, strutting and propping etc. with wooden battens and ballies, height of propping and centring below supporting floor to ceiling in all heights and removal of the same for in situ-reinforced concrete & plain concrete work i/c carriage of material in all leads & lifts in:-Foundation, footings basis of columns etc. and mass concrete. |  | 1220.4 | Sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
10 | Providing form work with steel plates 3.15mm.thick welded with angle iron in frame 30x30x5mm. so as to give a fair finish including centring, shuttering, strutting and propping etc. with wooden battens and ballies, height of propping and centring below supporting floor to ceiling in all heights and removal of the same for insitu-reinforced concrete & plain concrete work i/c carriage of material in all leads & lifts in:-Vertical surfaces such as walls (any thickness) partitions and the like including attached pillasters buttresses, plinth and string courses and the like, in all heights |  | 4994.5 | Sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
11 | Providing form work with steel plates 3.15mm.thick welded with angle iron in frame 30x30x5mm. so as to give a fair finish including centring, shuttering, strutting and propping etc. with wooden battens and ballies, height of propping and centring below supporting floor to ceiling in all heights and removal of the same for insitu-reinforced concrete & plain concrete work in:-Columns, pillars, posts and struts:-Circular or curved /Square in plan. |  | 4161.3 | Sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
12 | Providing form work with steel plates 3.15mm.thick welded with angle iron in frame 30x30x5mm. so as to give a fair finish including centring, shuttering, strutting and propping etc. with wooden battens and ballies, height of propping and centring below supporting floor to ceiling in all heights and removal of the same for insitu-reinforced concrete & plain concrete work in:-Beams, cantilever, girders and lintels.:-Sides and Soffits of beams, beam haunchings, cantilever girders, bressumers and lintels not exceeding 1 Metre in depth:-in all heights / floors. |  | 7743.9 | Sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
13 | Providing form work with steel plates 3.15mm.thick welded with angle iron in frame 30x30x5mm. so as to give a fair finish including centring, shuttering, strutting and propping etc. with wooden battens and ballies, height of propping and centring below supporting floor to ceiling in all heights and removal of the same for insitu-reinforced concrete & plain concrete work in:-Flat surfaces such as soffits of suspended floors, roofs, landings and the like:-Floors etc.upto 200mm. in thickness in all heights / floors. |  | 9856.3 | Sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
14 | Providing form work with steel plates 3.15mm.thick welded with angle iron in frame 30x30x5mm. so as to give a fair finish including centring, shuttering, strutting and propping etc. with wooden battens and ballies, height of propping and centring below supporting floor to ceiling in all heights and removal of the same for insitu-reinforced concrete & plain concrete work in:-Stair cases with sloping or stepped soffits excluding landing in all heights/ floors. |  | 204.2 | Sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
15 | Providing form work with steel plates 3.15mm.thick welded with angle iron in frame 30x30x5mm. so as to give a fair finish including centring, shuttering, strutting and propping etc. with wooden battens and ballies, height of propping and centring below supporting floor to ceiling in all heights and removal of the same for insitu-reinforced concrete & plain concrete work in:-Vertical and horizontal fins individually or forming box louvers band, facias and eaves boards in all heights/ floors. |  | 677.5 | Sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
16 | Providing form work with steel plates 3.15mm.thick welded with angle iron in frame 30x30x5mm. so as to give a fair finish including centring, shuttering, strutting and propping etc. with wooden battens and ballies, height of propping and centring below supporting floor to ceiling in all heights and removal of the same for insitu-reinforced concrete & plain concrete work in:-Edges of slabs and breaks in floors and walls:-Under 20 cm wide in all heights/ floors. |  | 3877.5 | Rmt |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
17 | Providing and laying in position ready mixed M-35 grade concrete for reinforced cement concrete work, using cement content as per approved design mix, manufactured in fully automatic batching plant and transported to site of work in transit mixer for all leads, having continuous agitated mixer, manufactured as per mix design of specified grade for reinforced cement concrete work, including pumping of R.M.C. from transit mixer to site of laying , excluding the cost of centering, shuttering finishing and reinforcement, including cost of admixtures in recommended proportions as per IS : 9103 to accelerate/ retard setting of concrete, improve workability without impairing strength and durability as per direction of the Engineer-in-charge.:-All Works up-to Plinth Level:-Foundation Footing, Base of Column etc. i/c carriage of material in all leads & lifts and as per the direction of Engineer in Change (Note :- Cement content should not be less than 422 kg/cum.in design mix). |  | 1200.3 | Cum |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
18 | Providing and laying in position ready mixed M-35 grade concrete for reinforced cement concrete work, using cement content as per approved design mix, manufactured in fully automatic batching plant and transported to site of work in transit mixer for all leads, having continuous agitated mixer, manufactured as per mix design of specified grade for reinforced cement concrete work, including pumping of R.M.C. from transit mixer to site of laying , excluding the cost of centering, shuttering finishing and reinforcement, including cost of admixtures in recommended proportions as per IS : 9103 to accelerate/ retard setting of concrete, improve workability without impairing strength and durability as per direction of the Engineer-in-charge i/c carriage of material in all leads & lifts.:-All Works Above Plinth Level, (Note :- Note :- Cement content should not be less than 422 kg/cum.in design mix). |  | 4083.4 | Cum |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
19 | Providing and laying in position ready mixed M-25 grade concrete for reinforced cement concrete work, using cement content as per approved design mix, manufactured in fully automatic batching plant and transported to site of work in transit mixer for all leads, having continuous agitated mixer, manufactured as per mix design of specified grade for reinforced cement concrete work, including pumping of R.M.C. from transit mixer to site of laying , excluding the cost of centering, shuttering finishing and reinforcement, including cost of admixtures in recommended proportions as per IS : 9103 to accelerate/ retard setting of concrete, improve workability without impairing strength and durability as per direction of the Engineer-in-charge.:-All Works upto Plinth Level:-Foundation Footing, Base of Column etc. i/c carriage of material in all leads & lifts and as per the direction of Engineer in Change (Note :- Cement content should not be less than 330 kg/cum.in design mix). |  | 25.5 | cum |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
20 | Providing and laying in position ready mixed M-25 grade concrete for reinforced cement concrete work, using cement content as per approved design mix, manufactured in fully automatic batching plant and transported to site of work in transit mixer for all leads, having continuous agitated mixer, manufactured as per mix design of specified grade for reinforced cement concrete work, including pumping of R.M.C. from transit mixer to site of laying , excluding the cost of centering, shuttering finishing and reinforcement, including cost of admixtures in recommended proportions as per IS : 9103 to accelerate/ retard setting of concrete, improve workability without impairing strength and durability i/c carriage of material in all leads & lifts and as per the direction of Engineer in Change:-All Works Above Plinth Level (Note :- Cement content should not be less than 330 kg/cum.in design mix). |  | 80.5 | Cum |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
21 | Reinforced cement concrete work in vertical and horizontal fins individually or forming box louvers, facias and eaves boards above plinth level up to floor five level, excluding the cost of centering, shuttering, finishing and reinforcement with 1:1½:3 (1 cement : 1½ coarse sand : 3 graded stone aggregate 20mm nominal size). i/c carriage of material in all leads & lifts and as per the direction of Engineer in Change |  | 53.8 | Cum |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
22 | Providing Tor steel reinforcement of Grade Fe-550 for R.C.C. work including bending, binding and placing in position complete in all levels i/c cost of binding wire & carriage of material in all leads and lifts |  | 862863.2 | Kg |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
23 | Providing and laying autoclaved aerated cement blocks masonry with 150mm/ 230mm/300 mm thick AAC blocks in super structure above plinth level up to any floor level with RCC band at sill level and lintel level with approved block laying polymer modified adhesive mortar all complete as per direction of Engineer-in-Charge. (The payment of RCC band and reinforcement shall be made for separately). i/c carriage of material in all leads & lifts and as per the direction of Engineer in Change |  | 301.1 | Cum |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
24 | Providing and laying autoclaved aerated cement blocks masonry with 100 mm thick AAC blocks in super structure above plinth level up to any floor level in cement mortar 1:4 (1 cement: 4 coarse sand ). The rate includes providing and placing in position 2 Nos 6 mm dia M.S. bars at every third course of masonry work i/c carriage of material in all leads & lifts and as per the direction of Engineer in Change |  | 101.2 | Cum |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
25 | Providing and Fixing factory made PVC door frame made of PVC extruded sections of size 75 mm x 53 mm, having wall thickness 2.0 mm (± 0.2 mm). Both verticals sides of the frame reinforced with PVC profile of cross section size 28 mm x 30 mm x 2 mm thickness (± 0.2 mm) and 75 mm x 200 mm long, including reinforcing both ends of the top frame with PVC profile. PVC Door Frame and PVC reinforcement profile to be mitred cut, jointed and fusion welded together, including providing and fixing 3 nos of 125mm long stainless steel hinges to frame, fixing the frame with jamb with required nos & sizes of anchor dash fastener, all complete as per manufacturer's specification and direction of engineering- charge. i/c carriage of material in all leads & lifts |  | 106.4 | Rmt |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
26 | Providing and fixing 24 mm thick to existing door frames factory made PVC door shutters made of styles and rails of a uPVC hollow section of size 59x24 mm and wall thickness 2 mm (± 0.2 mm) with inbuilt edging on both sides. The styles and rails mitred and joint at the corners by means of M.S. galvanized/ plastic brackets of size 75x220 mm having wall thickness 1.0 mm and stainless steel screws. The styles of the shutter reinforced by inserting galvanized M.S. tube of size 20x20 mm and 1 mm (± 0.1 mm) wall thickness. The lock rail made up of 'H' section, a uPVC hollow section of size 100x24 mm and 2 mm (± 0.2 mm) wall thickness, fixed to the shutter styles by means of plastic/galvanized M.S. 'U' cleats. The shutter frame filled with a uPVC multi-chambered single panel of size not less than 620 mm, having over all thickness of 20 mm and 1 mm (± 0.1 mm) wall thickness. The panels filled vertically and tie bar at two places by inserting horizontally 6 mm galvanized M.S. rod and fastened with nuts and washers, complete as per manufacturer's specification and direction of Engineer-in-charge. (For W.C. and bathroom door shutter). i/c carriage of material in all leads & lifts |  | 35.5 | Sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
27 | Providing and fixing factory made uPVC white colour casement /casement cum fixed glazed windows comprising of uPVC multi-chambered frame, sash and mullion (where ever required) extruded profiles duly reinforced with 1.60 ± 0.2 mm thick galvanized mild steel section made from roll forming process of required length (shape & size according to uPVC profile), uPVC extruded glazing beads of appropriate dimension, EPDM gasket, stainless steel (SS 304 grade) friction hinges, zinc alloy (white powder coated) casement handles, G.I fasteners 100 x 8 mm size for fixing frame to finished wall, plastic packers, plastic caps and necessary stainless steel screws etc. Profile of frame & sash shall be mitred cut and fusion welded at all corners, mullion (if required) shall be also fusion welded including drilling of holes for fixing hardware's and drainage of water etc. After fixing frame the gap between frame and adjacent finished wall shall be filled with weather proof silicon sealant over backer rod of required size and of approved quality, all complete as per approved drawing & direction of Engineer-in-Charge. i/c carriage of material in all leads & lifts (Single / double glass panes and silicon sealant shall be paid separately) Note: For uPVC frame, sash and mullion extruded profiles minus 5% tolerancein dimension i.e. in depth & width of profile shall be acceptable. Variation in profile dimension in higher side shall be accepted but no extra payment on this account shall be madeCasement window or ventilator single panel with S.S. friction hinges (300 x 19 x 1.9 mm), made of (small series) frame 47 x 50 mm & sash 47 x 68 mm both having wall thickness of 1.9 ± 0.2 mm and single glass pane glazing bead of appropriate dimension. (Area of window upto 0.75 sqm.) |  | 19.1 | Sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
28 | Providing fixing bright Stainless Steel tower bolts of size 250x10mm (barrel type) with screws etc. complete all as drawing and technical specification and as directed by Engineer-in-charge. i/c carriage of material in all leads & lifts |  | 30 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
29 | Providing fixing 125 mm long Stainless Steel D-handle for doors/windows with screws etc. complete all as drawing and technical specification i/c carriage of material in all leads & lifts and as per the direction of Engineer in Change |  | 30 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
30 | Providing fixing 250x14 mm Stainless Steel Aldrop for doors with screws etc. complete all as drawing and technical specification i/c carriage of material in all leads & lifts and as per the direction of Engineer in Change |  | 15 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
31 | 15mm Cement plaster with Cement Mortar 1:6 (1Cement:6 Sand) in single coat on the rough side of brick/ concrete/stone walls for interior/ exterior plastering upto any floor level including arrises, internal rounded angles,chamfers and/or rounded angles not exceeding 80mm in girth and finished even and smooth. i/c carriage of material in all leads & lifts and as per the direction of Engineer in Change |  | 18124.5 | Sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
32 | 6mm Cement plaster to ceiling:-In Cement mortar 1:3(1 Cement:3 Sand) complete all as drawing and technical specification i/c carriage of material in all leads & lifts and as per the direction of Engineer in Change |  | 9806.3 | Sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
33 | Applying Birla white wall care putty over plaster surface after thoroughly brushing the surface free from mortar drops, dust, loose materials and other foreign matters sand papered smooth to give final matter finish to the surface complete. i/c carriage of material in all leads & lifts and as per the direction of Engineer in Change |  | 27931 | Sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
34 | Applying priming with cement primer coat on new concrete / masonry / asbestos cement / plastered surfaces after and including preparing the surface by thoroughly cleaning oil,grease,dirt and other foreign matter and sand papering as required with :-Readymixed Cement primer i/c carriage of material in all leads & lifts and as per the direction of Engineer in Change |  | 27931 | Sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
35 | Wall painting (two coats) with acrylic emulsion paint of approved brand and manufacture for interior grade on undecorated concrete/stone/plastered wall surfaces to give an even shade including t horoughly brushing the surface free from mortar dropping and other foreign matter and sand papered smooth including applying of putty a required for metling the surface i/c carriage of material in all leads & lifts and as per the direction of Engineer in Change |  | 27931 | Sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
36 | Providing and fixing 18 mm thick gang saw cut, mirror polished, premoulded and prepolished, machine cut for kitchen platforms, vanity counters, window sills, facias and similar locations of required size, approved shade, colour and texture laid over 20 mm thick base cement mortar 1:4 (1 cement : 4 coarse sand), joints treated with white cement, mixed with matching pigment, epoxy touch ups, including rubbing, curing, moulding and polishing to edges to give high gloss finish etc. complete at all levels. i/c carriage of material in all leads & lifts and as per the direction of Engineer in Change, Granite of any colour and shade:-Area of slab upto 0.50 sqm |  | 364.5 | Sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
37 | Providing and fixing 18 mm thick gang saw cut, mirror polished, premoulded and prepolished, machine cut for kitchen platforms, vanity counters, window sills, facias and similar locations of required size, approved shade, colour and texture laid over 20 mm thick base cement mortar 1:4 (1 cement : 4 coarse sand), joints treated with white cement, mixed with matching pigment, epoxy touch ups, including rubbing, curing, moulding and polishing to edges to give high gloss finish etc. complete at all levels. i/c carriage of material in all leads & lifts and as per the direction of Engineer in ChangeGranite of any colour and shade:-Area of slab Over 0.50 sqm |  | 576.6 | Sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
38 | Providing and laying antiskid ceremic floor tiles of 8-10mm.thick laid on a bed of 12mm. thick cement mortar 1:3 (1cement: 3 sand) finished with flush pointing in white cement. colour and size i/c carriage of material in all leads & lifts and as per the direction of Engineer in Change |  | 157.7 | Sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
39 | Providing and fixing digital HD Ceramic wall tiles of 6 mm thick with 12 mm thick cement mortar 1:3 (1 cement :3 sand) and jointed with cement slurry. colour and size i/c carriage of material in all leads & lifts and as per the direction of Engineer in Change |  | 406 | Sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
40 | Providing anf laying stone kraft elevation/wall tile cladding min 6 mm thick and size of tile 30x60 cm in skirting risers of steps and dado 12 mm thick cement mortar 1:3 (1 cement :3 sand) and jointed with cement slurry. i/c carriage of material in all leads & lifts and as per the direction of Engineer in Change |  | 658.4 | Sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
41 | Providing and laying C.C. pavement of mix M-25 with ready mixed concrete from batching plant. The ready mixed concrete shall be laid and finished with screed board vibrator , vacuum dewatering process and finally finished by floating, brooming with wire brush etc. complete as per specifications and directions of Engineer-incharge. (The panel shuttering work shall be paid for separately). (Note :- Cement content should not be less than 330 kg/cum.in design mix).). |  | 679.3 | Cum |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
42 | Painting lines,dashes,arrows, letters etc.on roads,air fields and like in two coats with road marking paint, brushing, including cleaning the surface of all dirt,dust and other foreign matter i/c carriage of material in all leads & lifts and as per the direction of Engineer in Change |  | 1474 | Sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
43 | Steel work welded in buitlup sections,trusses and framed work, including cutting, hoisting, fixing in position and applying a priming coat of red lead paint: i/c carriage of material in all leads & lifts and as per the direction of Engineer in Change-In beams joists channels ,angles , tee ,flats with connection plates or angle cleats as in main and cross beems,hip and jack rafters,purlins connected to common rafters and the like. |  | 376.7 | Qtl. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
44 | Steel work welded in built-up sections,trusses and framed work, including cutting,hoisting,fixing in position and applying a priming coat of red lead paint:- i/c carriage of material in all leads & lifts and as per the direction of Engineer in Change In grating, Framed guards, bars,ledders railings,brackets & similar works. |  | 90 | Qtl. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
45 | Painting two coats (excluding priming coat)on new steel and other metal surface under coat with ready mixed paint brusing to give an even shade including cleaning the foreign matter :-With readymixed paint other than white i/c carriage of material in all leads & lifts and as per the direction of Engineer in Change |  | 145 | Sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
46 | Providing and fixing 0.60mm thick prepainted steel sheet in roofing with hot dipped metallic zinc coated sheet with top coat of regular modified polyster (RNP) organic coating of 20 microns over 5 microns primer coating to back coat of polyster of 5 microns over 5 microns primer coating i/c fixing with prepainted iron J or L hooks, bolts and nuts 6mm dia metre with prepainted limpet and rubber washers complete with all accesoriees as required i/c carriage of material in all leads & lifts and as per the direction of Engineer in Change |  | 1164.2 | Sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
47 | Providing and fixing ridges or hips 60 cm overall with 0.60mm thick prepainted steel sheets in roofing with hot dipped metalic zinc coated sheets with top coat of regular modified polyster organic coating of 20 microns over 5 microns primer coating + back coat of polyster of 5 microns over 5 microns primer coating i/c fixing with prepainted iron J or L hooks, bolts & nuts 6mm dia & prepainted G.I. limpet and bitumen washers complete with all accessories i/c carriage of material in all leads & lifts and as per the direction of Engineer in Change |  | 201 | Rmt. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
48 | Providing and fixing M.S. BP Sheet 1.66mm to 2.0mm thick in eaves board /facia /soffits/ ceiling including cutting, fixing and welding to steel roof members and applying a coat of red lead primer complete as per the instruction of Engineer-in-charge (Base members of steel work shall be measured & paid separtely) i/c carriage of material in all leads & lifts and as per the direction of Engineer in Change |  | 39.4 | Sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
49 | GI Metal Ceiling Lay in perforated Tegular edge global white color tiles of size 595x595 mm and 0.5 mm thick with 8 mm drop; made of GI sheet having galvanizing of 100 gms/ sqm (both sides inclusive) and 20% perforation area with 1.8 mm dia holes and having NRC (Noise Reduction Coefficient ) of 0.5, electro statically polyester powder coated of thickness 60 microns (minimum), including factory painted after bending and perforation, and backed with a black Glass fiber acoustical fleece. i/c carriage of material in all leads & lifts and as per the direction of Engineer in Change |  | 890.2 | Sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
50 | Construction of granular sub-base by providing close graded material, spreading in uniform layers of 53mm to 9.5mm @50% , 9.5mm to 2.36mm @ 20% and 2.36mm to below @ 30% with motor grader on prepared surface, mixing by mix in place method with rotavator at OMC, and compacting with vibratory roller to achieve the desired density, complete as per clause 401 |  | 84 | cum |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
51 | Providing and laying design mix cement concrete of M-30 grade, in roads/ taxi tracks/ runways, using cement content as per design mix, using coarse sand and graded stone aggregate of 40 mm nominal size in appropriate proportions as per approved & specified design criteria, providing dowel bars with sleeve/ tie bars wherever required, laying at site, spreading and compacting mechanically by using needle and surface vibrators, levelling to required slope/ camber, finishing with required texture, including steel form work with sturdy M.S. channel sections, curing, making provision for contraction/ expansion, construction & longitudinal joints ( 10 mm wide x 50 mm deep) by groove cutting machine, providing and filling joints with approved joint filler and sealants, complete all as per direction of Engineer-in- charge (Item of joint fillers, sealants, dowel bars with sleeve/ tie bars to be paid separately). (Note :- Cement content should not be less than 340 kg/cum.in design mix). Cement concrete prepared with batch mixing machine i/c carriage of material in all leads & lifts and as per the direction of Engineer in Change |  | 84 | Cum |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
52 | Providing and laying in position bitumen hot sealing compound for expansion joints etc.:-Using grade 'A' sealing compound. |  | 180 | Per cm depth per cm width per Length |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
53 | Providing weep holes in Brick masonry/Plain/ Reinforced concrete abutment, wing wall/ return wall with 110 mm dia PVC pipe of 4.5kg/cm2, extending through the full width of the structure with slope of 1V :20H towards drawing foce. Complete as per drawing and Technical Specifications i/c carriage of material in all leads & lifts and as per the direction of Engineer in Change |  | 360 | RMtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
54 | Providing and laying of Filter media with granular materials/stone crushed aggregates satisfying the requirements laid down in clause 2504.2.2. of MoRTH specifications to a thickness of not less than 600 mm with smaller size towards the soil and bigger size towards the wall and provided over the entire surface behind abutment, wing wall and return wall to the full height compacted to a firm condition complete as per drawing and Technical Specification. i/c carriage of material in all leads & lifts and as per the direction of Engineer in Change |  | 216 | Cum |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
55 | Back filling behind abutment, wing wall and return wall complete as per drawing and Technical Specification i/c carriage of material in all leads & lifts and as per the direction of Engineer in Change |  | 360 | Cum |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
56 | Providing and mixing integral crystalline admixture for waterproofing treatment to RCC structures like basement raft, retaining walls, reservoir, sewage & water treatment plant, tunnels / subway and bridge deck etc.. at the time of transporting of concrete into the drum of the ready-mix truck , using integral crystalline admixture @0.80% (minimum) to the weight of cement content per cubic meter of concrete) or higher as recommended by the manufacturer's specification in reinforced cement concrete at site of work. The material shall meet the requirements as specified in ACI-212-3R-2010 i.e. by reducing permeability of concrete by more than 90%, compared with control concrete as per DIN 1048 and resistant to 16 bar hydrostatic pressure. The crystalline admixture shall be capable of self-healing of cracks up to a width of 0.50mm. The work shall be carried out all complete as per specification and the direction of the Engineer-in-charge. The product performance shall carry guarantee for 10 years against any leakage. i/c carriage of material in all leads & lifts and as per the direction of Engineer in Change |  | 1339 | Kg |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
57 | Providing and laying water proofing treatment on roofs of slabs by applying cement slurry mixed with water proofing cement compound consisting of applying:(a) after surface preparation, first layer of slurry of cement @ 0.488 kg/sqm mixed with water proofing cement compound @ 0.253 kg/sqm. (b) laying second layer of Fibre glass cloth when the first layer is still green. Overlaps of joints of fibre cloth should not be less than 10 cm. (c) third layer of 1.5 mm thickness consisting of slurry of cement @ 1.289 kg/ sqm mixed with water proofing cement compound @ 0.670 kg/sqm and coarse sand @ 1.289 kg/sqm. This will be allowed to air cure for 4 hours followed by water curing for 48 hours. The entire treatment will be taken upto 30 cm on parapet wall and tucked into groove in parapet all around. i/c carriage of material in all leads & lifts and as per the direction of Engineer in Change |  | 1592.8 | Sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
58 | Providing and Placing in position suitable PVC water stops conforming to IS:12200 for construction/ expansion joints between two RCC members and fixed to the reinforcement with binding wire before pouring concrete etc. Dumb bell with central bulb 180mm wide 8 mm thick complete : i/c carriage of material in all leads & lifts and as per the direction of Engineer in Change |  | 90 | Rmt. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
59 | Supply and Installation of 8 Passenger lift without machine room of stainless stell material finish and telescoping door type and CAR size 1100x1400mm , Side opening door/Centre Opening Door and Single Entrace Car with a capacity of 544 kg and less than 2m/sec for G+6, Terrace and Basement.complete all as per drawing and manufacturer's specification and as per approved by DSCL i/c carriage of material in all leads & lifts and as per the direction of Engineer in Change |  | 2 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
60 | Providing and fixing high pressure PVC Spigot and Socket, waste and ventilating pipe ISI Marked including fixing with approved adhesive complete. i/c carriage of material in all leads & lifts and as per the direction of Engineer in Change: - PVC Pipe 150 mm dia |  | 25 | Rmt. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
61 | Providing and fixing high pressure PVC Spigot and Socket, waste and ventilating pipe ISI Marked including fixing with approved adhesive complete. i/c carriage of material in all leads & lifts and as per the direction of Engineer in Change: - PVC Pipe 110 mm dia |  | 223.8 | Rmt. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
62 | Providing and fixing high pressure PVC Spigot and Socket, waste and ventilating pipe ISI Marked including fixing with approved adhesive complete. i/c carriage of material in all leads & lifts and as per the direction of Engineer in Change: - PVC Pipe 75 mm dia |  | 109.7 | Rmt. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
63 | Providing and fixing PVC Plain bend ISI Marked including fixing with approved adhesive complete :- i/c carriage of material in all leads & lifts and as per the direction of Engineer in Change:- PVC Plain bend 110 mm dia |  | 66 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
64 | Providing and fixing PVC Plain bend ISI Marked including fixing with approved adhesive complete :- i/c carriage of material in all leads & lifts and as per the direction of Engineer in Change:- PVC Plain bend 75 mm dia |  | 66 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
65 | Providing and fixing PVC door bend with oval acess door, insertion rubber washer 3 mm thick bolts and nuts ISI marked complete including fixing with approved adhesive complete :- i/c carriage of material in all leads & lifts and as per the direction of Engineer in Change:- PVC Door bend 110 mm dia |  | 60 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
66 | Providing and fixing PVC door bend with oval acess door, insertion rubber washer 3 mm thick bolts and nuts ISI marked complete including fixing with approved adhesive complete :- i/c carriage of material in all leads & lifts and as per the direction of Engineer in Change:- PVC Door bend 75 mm dia |  | 60 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
67 | Providing and fixing PVC floor trap of size 110x75mm ISI Marked of self cleaning design including fixing with approved adhesive, cost of cutting and making good the walls and floor etc. complete i/c carriage of material in all leads & lifts and as per the direction of Engineer in Change |  | 126 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
68 | Providing and fixing PVC Single Equal Branch with oval access door, ISI Makred insertion rubber washer 3 mm thick bolts and nuts complete inclusing fixing with approved adhesive etc. complete i/c carriage of material in all leads & lifts and as per the direction of Engineer in Change:- 110 mm dia |  | 60 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
69 | Providing and fixing PVC Single Equal Branch with oval access door, ISI Makred insertion rubber washer 3 mm thick bolts and nuts complete inclusing fixing with approved adhesive etc. complete i/c carriage of material in all leads & lifts and as per the direction of Engineer in Change:-75 mm dia |  | 60 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
70 | Providing and fixing PVC Collar ISI Marked including fixing with approved adhesive complete :- i/c carriage of material in all leads & lifts and as per the direction of Engineer in Change:-150 mm dia |  | 10 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
71 | Providing and fixing PVC Collar ISI Marked including fixing with approved adhesive complete :- i/c carriage of material in all leads & lifts and as per the direction of Engineer in Change:-110 mm dia |  | 60 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
72 | Providing and fixing PVC Collar ISI Marked including fixing with approved adhesive complete :- i/c carriage of material in all leads & lifts and as per the direction of Engineer in Change:-75 mm dia |  | 60 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
73 | Providing and fixing PVC Clamps ISI Marked of approved design with steel screw and rawal plug etc.complete :- i/c carriage of material in all leads & lifts and as per the direction of Engineer in Change:- for 110 mm dia pipe |  | 25 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
74 | Providing and fixing PVC Clamps ISI Marked of approved design with steel screw and rawal plug etc.complete :- i/c carriage of material in all leads & lifts and as per the direction of Engineer in Change:- for 75 mm dia pipe |  | 25 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
75 | Providing and fixing square-mouth PVC gully trap complete with C.I. grating brick masonry chamber with water tight C.I. cover with frame of 300 x300 mm size (inside) the weight of cover to be not less than 4.50 kg and frame to be not less than 2.70 kg as per standard design: i/c carriage of material in all leads & lifts and as per the direction of Engineer in Change |  | 5 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
76 | Constructing brick masonry manhole in cement mortar 1:4 ( 1 cement : 4 coarse sand ) with R.C.C. top slab with 1:2:4 mix (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size), foundation concrete 1:4:8 mix (1 cement : 4 coarse sand : 8 graded stone aggregate 40 mm nominal size), inside plastering 12 mm thick with cement mortar 1:3 (1 cement : 3 coarse sand) finished with floating coat of neat cement and making channels in cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) finished with a floating coat of neat cement complete as per standard design : i/c carriage of material in all leads & lifts and as per the direction of Engineer in ChangeInside size 90x80 cm and 45 cm deep including SFRC cover with frame (Medium duty) 500mm dia internal dimensions, :With common burnt clay F.P.S. (non modular) bricks of class designation 7.5 |  | 5 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
77 | Providing and fixing white vitreous china extended wall mounting water closet of size 790x370x690 mm of approved shape including providing & fixing white vitreous china cistern with dual flush fitting, of flushing capacity 3 litre/ 6 litre (adjustable to 4 litre/ 8 litres), including seat cover, and cistern fittings, nuts, bolts and gasket etc complete. i/c carriage of material in all leads & lifts and as per the direction of Engineer in Change |  | 30 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
78 | Providing and fixing Health faucet ABS with rubbit cleaning system, flexible tube upto 1.25 mtr. long PVC Flexible tube & ABS wall hook to extended wall mounted type W.C. of quality and make as approved i/c carriage of material in all leads & lifts and as per the direction of Engineer in Change |  | 30 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
79 | Providing and fixing Oval Shape wash basin on R.C.C Slab, including 15 mm C.P. brass pillar taps, 32 mm C.P. brass waste of standard pattern, and making good the walls wherever require:-White Vitreous China oval shape Wash basin size 540x410 mm with 15 mm C.P. brass pillar taps. |  | 24 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
80 | Providing and fixing P.V.C. Flexible pipe waste pipe for sink or wash basin including:-P.V.C. waste fittings complete.:- 32 mm dia i/c carriage of material in all leads & lifts and as per the direction of Engineer in Change |  | 42 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
81 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply including all CPVC plain & brass threaded fittings This includes jointing of pipes & fittings with one step CPVC solvent cement, trenching, refilling & testing of joints complete as per direction of Engineer in Charge:-32 mm nominal outer dia Pipes i/c carriage of material in all leads & lifts and as per the direction of Engineer in Change |  | 78 | Rmt. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
82 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply including all CPVC plain & brass threaded fittings This includes jointing of pipes & fittings with one step CPVC solvent cement, trenching, refilling & testing of joints complete as per direction of Engineer in Charge:-50 mm nominal outer dia Pipes i/c carriage of material in all leads & lifts and as per the direction of Engineer in Change |  | 81 | Rmt. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
83 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, including fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and testing of joints complete as per direction of Engineer in Charge. Internal work - Exposed on wall:-25 mm nominal outer dia Pipes i/c carriage of material in all leads & lifts and as per the direction of Engineer in Change |  | 119 | Rmt. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
84 | Providing and fixing 20 mm Nominal Outer dia pipe Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, i/c fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer in Charge:- Concealed work, including cutting chases and making good the walls etc. i/c carriage of material in all leads & lifts and as per the direction of Engineer in Change |  | 132 | Rmt. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
85 | Providing and fixing uplasticised PVC connection pipe with brass unions : 45 cm Long i/c carriage of material in all leads & lifts and as per the direction of Engineer in Change |  | 297 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
86 | Providing and fixing C.P. brass bib cock 15mm nominal bore of approved quality conforming to IS:8931 : i/c carriage of material in all leads & lifts and as per the direction of Engineer in Change |  | 42 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
87 | Providing and fixing C.P. brass angle valve of 15mm nominal size for basin mixer and geyser points of approved quality conforming to IS:8931 i/c carriage of material in all leads & lifts and as per the direction of Engineer in Change |  | 150 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
88 | Providing and placing on terrace (at all floor levels) polyethylene water storage tank, IS : 12701 marked, with cover and suitable locking arrangement and making necessary holes for inlet, outlet and overflow pipes but without fittings and the base support for tank. i/c carriage of material in all leads & lifts and as per the direction of Engineer in Change |  | 27000 | per litre |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
89 | Providing and fixing 600x450 mm bevelled edge mirror of superior glass (of approved quality) complete with 6 mm thick hard board ground fixed to wooden cleats with C.P. brass screws and washers complete. |  | 30 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
90 | Providing and fixing C.P. Brass Towel rail complete with C.P. Brass brackets fixed to wooden plugs with C.P. Brass screws :600x20mm i/c carriage of material in all leads & lifts and as per the direction of Engineer in Change |  | 24 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
91 | Providing and fixing 600mm x 120 mm glass shelf with C.P. Brass bracket and guard rail complete, fixed to wooden plugs with C.P. Brass screws. i/c carriage of material in all leads & lifts and as per the direction of Engineer in Change |  | 24 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
92 | Providing and fixing chromium plated brass soap dish with C.P. Brass brackets fixed to wooden cleats with C.P. Brass screws :- i/c carriage of material in all leads & lifts and as per the direction of Engineer in Change |  | 24 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
93 | Providing and fixing gun metal gate valve with C.I. wheel of approved quality (screwed end) i/c carriage of material in all leads & lifts and as per the direction of Engineer in Change:- 32 mm nominal bore |  | 5 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
94 | Providing and fixing gun metal gate valve with C.I. wheel of approved quality (screwed end) i/c carriage of material in all leads & lifts and as per the direction of Engineer in Change:- 25 mm nominal bore |  | 5 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
95 | Providing and fixing gun metal gate valve with C.I. wheel of approved quality (screwed end) i/c carriage of material in all leads & lifts and as per the direction of Engineer in Change:- 50 mm nominal bore |  | 2 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
96 | Making connection of drain or sewer line with existing manhole including breaking into and making good the walls, floors with cement concrete 1:2:4 mix (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) cement plastered on both sides with cement mortar 1:3 (1 cement : 3 coarse sand), finished with a floating coat of neat cement and making necessary channels for the drain etc. complete : i/c carriage of material in all leads & lifts and as per the direction of Engineer in Change |  | 1 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
97 | Providing and fixing STYLAM CUBIOD NUVO model size of Toilet cubicle as per drawing which includes 600mm door size width )made of heat, bacteria, water, chemical, scratch impact and anti bacterial resistant 12mm thick solid compact laminate panels , Finish of the compact laminate should be Suede / *Raw Silk, which includs doors,pilasters & intermediate panel tested by national test house finished with approved texture/shade as per the detail drawings & as per IS 2046 (Indian Standard) and as per fire retardant BS-476/97 standard the product should have Green Guard Certificate. i/c carriage of material in all leads & lifts and as per the direction of Engineer in ChangeThis also includes providing and fixing in position necessary hardware made out of Nylon Polyamide Grade-6 & Aluminium powder coated top rail as per manufacture’s specifications & Architects instructions like (1) Door Knob, (2) Gravity Hinges, (3) Thumb turn lockset indicator, (4) Aluminium Top Rail, (5) Coat Hook, (6) U-Channels, (7) Adjustable Foot, (8) Noise Deafening Tape (9) Screws & wall plugs etc.The top fitting should consist of aluminium Powder coated top rail which will get fixed with Mid & End pilasters, All screw will of 304 Grade in stainless steel with satin finish. Top rail is extruded Aluminium will be powder coated or anodized (Grade 6063 Micron Aluminium). All pilasters are supported by grade- 6 Nylon Polyamide Thermoplastic palm design pedestal footing with non-corrosive steel inserts. The base diameter 65mm and neck diameter of 33mm anchored to the floor with grade 304 satin finish stainless steel screws with push fit capping at a clearance height of 150mm. Model is Heat and Bacteria Resistant |  | 12 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
98 | Providing and fixing white vitreous china flat back or wall corner type lipped front urinal basin of size 430x260x350 mm &340x410x265mm respectively with white PVC automatic flushing cistern 5 litr capacity, with fittings, standard size C.P. brass flush pipe, spreaders with unions and clamps (all in C.P. brass) with waste fitting as per IS : 2556, including painting of fittings and cutting and making good the walls and floors wherever required including URINAL PARTITION of size 1195x550mm with 12mm thick laminated panel including all Stainless steel accessories reiquired for fitting this panel and comple all as per drawing and techincal specification and as directed by Engineer-in-charge. |  | 18 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
99 | Wiring for light point / fan point / exhaust fan / call bell point with 1.5 Sq. mm. PVC insulated heat resistant flame retardant (HRFR) and low smoke single core (flexible) copper conductor cable in surface/recessed steel/PVC conduit with modular switch, modular plates, suitable G.I. box and earthing the light point with 1.5 Sq.mm. HRFRLS/PVC insulated single core copper conductor cable as required. (Group-C) |  | 456 | Point |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
100 | Supplying and fixing following rating Modular switch /socket in the existing switch box / cover plate including connections etc. as required. S.P. 5/ 6 Amps one way Modular switch. |  | 24 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
101 | Supplying and fixing following rating Modular switch / socket in the existing switch box / cover plate including connections etc. as required 5 pin, 5/ 6 Amps Modular socket outlet. |  | 24 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
102 | Supplying and fixing G.I. Modular box of (140mm x78mmx50mm) size with modular plate and cover in recess including providing and fixing 6 pin 15/16 amps modular socket outlet and 15/16 amps, modular switch, connections etc. as required. |  | 39 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
103 | Wiring for light/plug with 2x1.5 Sq. mm. PVC insulated heat resistant flame retardant (HRFR) and low smoke single core (flexible) copper conductor cable in surface/recessed steel/PVC conduit along with 1 No.1.5 Sq.mm. HRFRLS/PVC insulated single core copper conductor cable for earthing as required. |  | 520 | Meter |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
104 | Wiring for power plug with 2x4 Sq. mm. PVC insulated heat resistant flame retardant (HRFR) and low smoke single core (flexible) copper conductor cable in surface/recessed steel/PVC conduit along with 1 No.4 Sq.mm. HRFRLS/ PVC insulated single core copper conductor cable for earthing as required. |  | 180 | Meter |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
105 | Wiring for power plug with 4x4 Sq. mm. PVC insulated heat resistant flame retardant (HRFR) and low smoke single core (flexible) copper conductor cable in surface/recessed steel/PVC conduit along with 2 No.4 Sq.mm. HRFRLS/PVC insulated single core copper conductor cable for earthing as required. |  | 270 | Meter |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
106 | Supplying and fixing ceiling rose on the existing junction box / wooden block including connections etc. as required. |  | 456 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
107 | Providing and fixing concealed LED Down Light with 45 Watt, complete with all accessories, connections, testing and commissioning etc. as required and Material as approved by DSCL |  | 32 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
108 | Providing and fixing concealed LED Down Light with 21 Watt, complete with all accessories, connections, testing and commissioning etc. as required and Material as approved by DSCL |  | 333 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
109 | Providing and fixing concealed LED Down Light with 10 Watt, complete with all accessories, connections, testing and commissioning etc. as required and Material as approved by DSCL |  | 60 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
110 | Providing, Installation, testing and commissioning of ceiling fan with regulator, including wiring the down rods of standard length (up to 30 cm) with 16/0.20 mm twin twisted flexible, cotton braided, copper cable, including providing and fixing phenolic laminated sheet cover on the fan box and earthing etc. as required:- Ceiling Fan 1200 mm sweep, Category-A and Material as approved by DSCL |  | 1 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
111 | Providing and installation of exhaust fan of following sizes in the existing opening, including making the hole to suit the size of the above fan, making good the damages, connections, testing and commissioning etc. as required:- Exhaust Fan, Light duty, (Domestic) 300 mm sweep and as per approved make by DSCL |  | 30 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
112 | Supplying, Installation, Testing & Commissioning of LED light fixture of 45 watt for street lighting including single arm bracket complete with all materials, as required. Materials as approved by " DSCL" |  | 4 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
113 | Supplying and Erection of 4M Decorative Pole with Single Arm made up of MS Section of Dia 112mm and 60mm with Base Plate of 250 x 250 x 10mm. Pre-treatment through shot blasting and polishing method. Top coat of UV rays resistant exterior grade PU Paint. 40-45W LED Hanging type Post Top shall be IP66 protected made up of Aluminium with polycarbonate diffuser. Pole should be PU painted (Polyurethane Paint) with suitable colour including carriage of materials with all lead and lifts. Materials as approved by " DSCL" |  | 5 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
114 | Supplying and installing following size of perforated painted with powder coating M.S. cable trays with perforation not more than 17.5%, in convenient sections, joined with connectors, suspended from the ceiling with M.S. suspenders including bolts & nuts, painting suspenders etc as required. 200 mm width X 50 mm depth X 1.6 mm thickness |  | 60 | Meter |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
115 | Supplying and fixing of following sizes of PVC conduit along with the accessories in surface / recess including cutting the wall and making good the same in case of recessed conduit as required:- 50 mm. dia |  | 150 | Meter |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
116 | Supplying and laying of following size DWC HDPE pipe ISI marked along with all accessories like socket, bend, couplers etc. conforming to IS 14930, Part II complete with fitting and cutting, jointing etc.direct in ground (75 cm below ground level) including excavation and refilling the trench but excluding sand cushioning and protective covering etc. , complete as required. 200 mm dia (OD-200 mm & ID-175 mm nominal) |  | 50 | Meter |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
117 | Providing, laying and fixing of one No. aluminium conductor, PVC insulated and PVC sheathed, armoured/XLPE power cable, working voltage 1100 volts grade on surface etc. of the required size :- Armoured cable 400 sq. mm (3.5 core) |  | 75 | R.Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
118 | Providing, laying and fixing of one No. aluminium conductor, PVC insulated and PVC sheathed, armoured/XLPE power cable, working voltage 1100 volts grade on surface etc. of the required size:- Armoured cable 50 sq. mm (3.5 core) |  | 30 | R.Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
119 | Providing, laying and fixing of PVC insulated flexible Copper power cable, working voltage 1100 volts grade on surface etc. of the required size, including suitable size of jointing Kits and copper lugs. :- 3- Core 6 Sq.mm flexible Copper power cable |  | 150 | Meter |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
120 | Supplying and erection of following depth sheet metal cubical pedestal of suitable dimensions with plus-minus 5 cm variation, made from 1.6 mm thick M.S. sheet duly fabricated in a segregated manner for housing of switch fuse units, by welding each compartment on five sides & front side hinged, complete with locking arrangement, with sufficient No. vertical and horizontal intermediate switchgear housing compartments. The cubical pedestal shall have cable entry box at one or two sides, with epoxy powder coated approved paint and bonding to the existing earth etc. The same shall be erected in the 1:2:4 cement concrete plat-form of suitable dimensions 15 cm high from ground level and 45 cm thick. The cubical pedestal shall be 15 cm from the top of cement concrete plat-form:- 450 mm deep (nominal) |  | 1.8 | Sq. mtr. of face area |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
121 | Providing and fixing following rating, four pole, 415 volts, On-Load change over switch unit, panel mounting, Automatic operation, including drilling holes in the cubical, making connections and protection from internal and external surge, etc. as required.:- 630 Amps. |  | 1 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
122 | Supplying and fixing sheet metal bus-bar chamber suitable for 800 Amp. 415 volts capacity with 4 No. copper strip bus-bars each of length 600mm & cross-sectional area (50.80mmx6.35mm), enclosure made from 1.6 mm thick M.S. sheet having overall dimensions (680mmx600mmx300mm) nominal with all accessories including connections, earthing the body etc. as required:- |  | 1 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
123 | Providing and fixing following rating and breaking capacity MCCB in the existing cubical panel board including drilling holes in the cubicle panel, making connections, and protection from internal and external surge etc. as required.:- 315/400 Amp. -35 KA |  | 1 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
124 | Providing and fixing following rating and breaking capacity MCCB in the existing cubical panel board including drilling holes in the cubicle panel, making connections, etc. as required.:- 125 Amp. -16 KA |  | 3 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
125 | Supplying and fixing following rating, four pole, 415 volts, Isolator in the existing MCB DB complete with connections, testing and commissioning etc. as required. 63 Amps. Cat-A. |  | 7 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
126 | Supplying and fixing of following way triple pole and neutral, sheet steel MCB distribution board, 415 volts, on surface / recess, with provision for 4-pole MCB/Isolator/RCCB/RCBO as incomer and SP MCBs as outgoing, complete with tinned copper bus- bar, wire-set, neutral link, earth bar, din-bar, detachable gland plate, cable, identification labels interconnections, phosphatized and powder painted, including earthing etc. as required :- Double door - 6 way (8+18), horizontal type |  | 9 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
127 | Supplying and fixing following rating, four pole (three phase & neutral) 415 volts, residual current circuit breaker (RCCB), having a sensitivity current up to 300 miliampers in the existing MCB DB complete with connections, testing and commissioning etc. as required. 100 Amps. Cat-A. |  | 2 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
128 | Supplying and fixing following rating, four pole (three phase & neutral) 415 volts, residual current circuit breaker (RCCB), having a sensitivity current up to 300 miliampers in the existing MCB DB complete with connections, testing and commissioning etc. as required. 63 Amps. Cat-A. |  | 7 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
129 | Supplying and fixing following rating, four pole, 415 volts, Isolator in the existing MCB DB complete with connections, testing and commissioning etc. as required.100 Amps. Cat-A. |  | 2 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
130 | Supplying and fixing following rating, four pole, 415 volts, Isolator in the existing MCB DB complete with connections, testing and commissioning etc. as required. 63 Amps. Cat-A. |  | 7 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
131 | Supplying and erection of 6 amps. to 32 amps. rating, 10 KA breaking capacity, 240 volts, 'C' curves, miniature circuit breaker of following poles in the existing MCB DB complete with connections etc. as required :- Single pole. Cat-A. |  | 108 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
132 | Supplying and erection of 6 amps. to 32 amps. rating, 10 KA breaking capacity, 240 volts, 'C' curves, miniature circuit breaker of following poles in the existing MCB DB complete with connections etc. as required :- Double pole. Cat-A |  | 9 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
133 | Supplying, Installation, Testing & Commissioning of Timer Switch 230 / 240 VAC suitable for automatic switch on-off of luminaries including with its all required accessories , as per Engineer -in- Charge |  | 9 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
134 | Supplying, Installation, Testing & Commissioning of GI earthing / grounding protection system for Electrical system in Building including all these following materials ; { 1. GI earthing rod 40 X 2 Mtr, 2. chemical bag (15kg) in 2 nos, 3.Advance Maintenance free gel chemical (5 Ltr.), 4.GI wire 8 Sq mm, 5. Inspection Cover (300 X 300), 6.Installation & Commissioning charges , 7.Shipping Charges}, Labour Charges & as required. Materials as approved by " DSCL" |  | 6 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
135 | Providing and fixing of 25mm x 5 mm G I strip on surface or in recess for earthing connections etc. as required. |  | 100 | Meter |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
136 | Supplying, Installation , Testing & Commissioning of Lighting Arrestor with minimum protection radius of 100 M for protecting the building from lighting stroke, including its all required accessories, fittings and earthing connection of Lighting Arrestor (L.A), Materials as approved by " DSCL" |  | 1 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
137 | Supplying, Installation , Testing & Commissioning of 250 KVA water-cooled salient DG Set comprising of water cooled Diesel Engine (MOEF & CPCB norms compliance) devloping 223/299 BHP@ 1500 RPM & Alternator rated at 3 phase, 415 volts, 50 Hz ; 0.8 p.f . @ 1500 RPM both Mounted, and alinged on a common MS base frame complete with MS fuel tank , control panel, Resdential Exhaust Sliencer , AVM Pads fitted on base frame , with Suitable Battery backup system, 1st fill of Lube oil, all housed in sound proof acoustic enclosure. Materials as approved by " DSCL" |  | 1 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
138 | Supplying,Installation , Testing & Commissioning of DC Wallbox / Pillar Type EV Charger 25 Kw DC Dual output CCS Type 2 : 200 - 500 VDC for EV charging System including all required accessories. |  | 2 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
139 | Supplying, Installation , Testing & Commissioning of EV Charger 7.00 Kw AC Type 2 : 220 - 240 VAC for EV charging System including all required accessories. |  | 8 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
140 | Supplying, Installation , Testing & Commissioning of CPO + CMS + User APP - APP for 5 Year (Software service), including operation & maintenance of EV Charging system for five years. |  | 10 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
141 | Supply, Installation, Testing and Commissioning of Hydraulic Boom Barrier arm up-to 3 meter or as per site requirement with all accessories as per specification |  | 6 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
142 | Supply, Installation, Testing, Commissioning of- POS & QR Barcode with Housing QR Code Scanner Wireless 2D Barcode Scanner With Stand Supports Screen Scan CMOS Imager Long Range Portable USB Bar Code Reader with Auto Sensing Read 1D 2D QR Code PDF417 Data Matrix with 19" TFT Display, Cash Drawer. |  | 3 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
143 | Supply, Installation, Testing, Commissioning of- Hand held Device |  | 3 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
144 | Supply, Installation, Testing, Commissioning of- ANPR camera with perpetual license and all other required accessories as per specification |  | 6 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
145 | Supply, Installation, Testing and Commissioning of Road hump / speed breakers |  | 6 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
146 | Supply, Installation, Testing and Commissioning of Precast concrete Car Wheel Stopper with size of 600 mm x100 mm x100 mm. Grade of conc. should be M-35 including required accessories for fixing complete all as per drawing and manufacturer specifications and as directed by Engineer-in-charge. |  | 650 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
147 | Supply, Installation, Testing, Commissioning of Parking Management Software/web portal application and Mobile app with as per specification |  | 1 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
148 | Supply, Installation, Testing, Commissioning of- Loop Detector Dual channel with Induction loop with as per specification |  | 6 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
149 | Supply, Installation, Testing, Commissioning of-Floor Automation panel (PLC) with 4 port network switch and with power supply at each floor & other require accessories |  | 9 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
150 | Supply, Installation, Testing, Commissioning of Variable Messaging System (Size 2.88MX 1.92M )with all accessories e.g.AC/DC, PS power System, LED controller, media player, PC etc. with perpetual software license as per specification |  | 3 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
151 | Supply, Installation, Testing, Commissioning of Variable Messaging System(Size 1.92MX 1.92M) with all accessories e.g.AC/DC, PS power System, LED controller, media player, PC etc. with perpetual software license as per specification |  | 7 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
152 | Supply, Installation, Testing, Commissioning of-Data Logic Controller. As per specifications. |  | 1 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
153 | Supply, Installation, Testing, commissioning of- Miscellaneous Accessories, Rack up-to 42 U or APSR, RJ 45 connectors, interfaces, Patch Cords, HDMI/VGA cable (min 4-5 meters) with connectors at both side, Jacks, Plugs, tags, identifiers, fixtures, clamps, screws, nut - bolts etc. As required for the installation and commissioning of the complete job as per system requirement |  | 1 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
154 | Supply, laying, of cat6 cable for Parking management system (boom barrier, porta cabin connectivity, CCTV camera, server connectivity, and network connectivity) including RJ45 Connector, etc. as required . |  | 4500 | Mtr |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
155 | Supply, laying, of Power cable 3 core 1.5 sq.mm |  | 4000 | Mtr |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
156 | Supply, laying, of 4 core 1.5sqmm Armored Cable for parking system |  | 4500 | Mtr |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
157 | Supply, Installation, Testing, commissioning of- Each Parking Slot Items SET- Red/Green/ Blue- LED indicator-1 No. Ultrasonic Sensor - 1 No. with all necessary accessories, & peripheral items like 25 mm, 1.2 mm thickness U Type Cable Tray, MS Painted- grey colour 4 Mtr. with all necessary accessories, & peripheral items, as required as per specification. |  | 298 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
158 | Supply, Installation, Testing, Commissioning of- Parking Guidance System- Zone Controller with SMPS, PVC wall mounting box with accessories as per specification |  | 10 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
159 | Supply, laying, MS Conduit 25 mm (Black) for parking system |  | 6000 | Mtr |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
160 | Supply, Installation, Testing, Commissioning CCTV Camera (Dome or Bullet type) with perpetual license as per specification |  | 30 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
161 | Supply, Installation, Testing, Commissioning Server based NVR with HDD Storage 30 days |  | 1 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
162 | Supply, Installation, and Commissioning of L2 switch with 16X1 G Base T POE+And 2X1G SEP slots with POE Budget 240 W |  | 9 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
163 | Supply, Installation, and Commissioning of L3 switch with 24X1G base-X with 8 1G Combo ports and 41G/10 SFP slots with Internal RPS equipped |  | 1 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
164 | Supply, Installation, and Commissioning of 9 U wall mount rack |  | 9 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
165 | Supply, Installation, Testing, Commissioning of Rack 32U |  | 1 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
166 | Supply, laying of OFC 6 core-Armored cable for Outdoor. |  | 1500 | Mtr |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
167 | Supply, Installation, testing and commissioning of Electric driven Main Fire Pump suitable for automatic operation and consisting of following, complete in all respects, as required : Horizontal type, multistage, centrifugal, Horinzontal End Suction Long Coupled pump of cast iron body & bronze impeller with stainless steel shaft, mechanical seal conforming to IS 1520.Suitable HP Squirrel cage induction motor, TEFC, synchronous speed 3000 RPM, suitable for operation on 415 volts, 3 phase 50 Hz, AC supply with IP 55 protection for enclosure, horizontal foot mounted type with Class-'F' insulation, conforming to IS-325. Epoxy coated common base plate for mounting pump and motor fabricated of mild steel channel as per manufacturer's recommendation with required no. of heavy duty Anti Vibration pads, coupling, coupling guard, foundation bolts etc. as required.Fire Pumps should be BMS compatible & EF class, Pump shall be capable of handling not less than 150% of rated capacity at a head not less than 65 % of rated head. The shut off head shall not exceed 120% of rated head. HP of motor should be 20% more than the calculated HP. As per the approved make by DSCL, Flexible Coupling and coupling guard for direct coupling of pump and motor. 2280 lpm at 85 m Head (For Hydrant System), Elect Load of Motor - 56KW(Approx) Note: *The head of the pump is selected in a manner so as to give a minimum 3.5kgf/cm2 pressure at the highest/farthest point. |  | 1 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
168 | Supply, Installation, testing and commissioning of Electric driven Main Fire Pump suitable for automatic operation and consisting of following, complete in all respects, as required : Horizontal type, multistage, centrifugal, Horinzontal End Suction Long Coupled pump of cast iron body & bronze impeller with stainless steel shaft, mechanical seal conforming to IS 1520.Suitable HP Squirrel cage induction motor, TEFC, synchronous speed 3000 RPM, suitable for operation on 415 volts, 3 phase 50 Hz, AC supply with IP 55 protection for enclosure, horizontal foot mounted type with Class-'F' insulation, conforming to IS-325. Epoxy coated common base plate for mounting pump and motor fabricated of mild steel channel as per manufacturer's recommendation with required no. of heavy duty Anti Vibration pads, coupling, coupling guard, foundation bolts etc. as required.Fire Pumps should be BMS compatible & EF class, Pump shall be capable of handling not less than 150% of rated capacity at a head not less than 65 % of rated head. The shut off head shall not exceed 120% of rated head. HP of motor should be 20% more than the calculated HP. As per the approved make by DSCL, Flexible Coupling and coupling guard for direct coupling of pump and motor. 2280 lpm at 85 m Head (For Sprinkler System), Elect Load of Motor - 56KW(Approx) Note: *The head of the pump is selected in a manner so as to give a minimum 3.5kgf/cm2 pressure at the highest/farthest point. |  | 1 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
169 | Supply, Installation, testing and commissioning of diesel engine driven main fire pump suitable for automatic operation and consisting of following, complete in all respects, as required : (Diesel Driven Pump) As per the approved make by DSCL, Horinzontal End Suction Long Coupled, multistage, centrifugal pump of cast of iron body and bronze impeller with stainless steel shaft, mechanical seal conforming to IS 1520, Suitable HP, 2900 RPM water cooled with radiator, diesel engine conforming to relevant IS standard complete with auto starting mechanism, 12 /24 volts electric starting equipment, diesel tank, exhaust pipe extended upto 10 m outside pump house duly insulated with 50 mm thick glass wool with 1.0 mm thick aluminium sheet cladding, residential silencer, instruments and protection as per standard specification, stop solenoid for auto stop in the event of fault with audio indications, painted with post office red colour etc. as required., M.S fabricated, common base plate, coupling, coupling guard, foundation bolts etc. as required. Suitable cement concrete foundation duly plastered and with anti-vibration pads, .Fire Pumps should be BMS compatible & EF class. 2280 lpm at 85 m Head, 24 volts 180 AH lead acid battery (12 volts - 2 Nos),Detail of Engine as described above, Note: *The head of the pump is selected in a manner so as to give a minimum 3.5kgf/cm2 pressure at the highest/farthest point. |  | 1 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
170 | Supply, Installation, testing and commissioning of electric driven pressurisation pump suitable for automatic operation and consisting of following, complete in all respects, as required : (Jockey Pump) As per the approved make by DSCL, Horinzontal End Suction Long Coupled, multistage, centrifugal pump of cast iron body and bronze impeller with stainless steel shaft, mechanical seal conforming to IS : 1520., Suitable HP squirell cage induction motor TEFC type suitable for operation on 415 volts, 3 phase 50 Hz AC supply with IP 55 class of protection for enclosure, horizontal foot mounted type with Class-'F' insulation, conforming to IS : 325., M.S.fabricated Common base plate, coupling, coupling guard, foundation bolts etc. as required., Fire Pumps should be BMS compatible & EF class.180 lpm at 85 m Head for Hydrant System ,Elect Load of Motor - 15KW (Approx) |  | 1 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
171 | Supply, Installation, testing and commissioning of electric driven pressurisation pump suitable for automatic operation and consisting of following, complete in all respects, as required : (Jockey Pump) As per the approved make by DSCL, Horinzontal End Suction Long Coupled, multistage, centrifugal pump of cast iron body and bronze impeller with stainless steel shaft, mechanical seal conforming to IS : 1520., Suitable HP squirell cage induction motor TEFC type suitable for operation on 415 volts, 3 phase 50 Hz AC supply with IP 55 class of protection for enclosure, horizontal foot mounted type with Class-'F' insulation, conforming to IS : 325., M.S.fabricated Common base plate, coupling, coupling guard, foundation bolts etc. as required., Fire Pumps should be BMS compatible & EF class.180 lpm at 85 m Head for Sprinkler System ,Elect Load of Motor - 15KW (Approx) |  | 1 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
172 | Supply, Installation, Testing and Commissioning of Electric driven Terrace pump suitable for automatic operation and consisting of following: complete in all respect as required. a) Horizontal Type, single stage, centrifugal pump of cast iron body and bronze impeller with stainless steel shaft, mechanical seal and flow of 900 lpm at 40m of 10 KW, head conforming to IS standards. b) Squirrel cage induction motor with suitable HP with synchronous speed 3000 RPM, Suitable for operation on 415 volts, 3 phase 50 Hz. AC with IP 55 protection for enclosure, horizontal foot mounted type with Class-F insulation, Conforming to IS standards.c) Common Base plat for Pump and motor and coupling, coupling guard, vibration pad, cables and other accessories as required for complete installation of pump set. |  | 1 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
173 | Fabrication, supply, Installation testing & commissioning of Electrical control panel of cubical construction, floor mounted type, fabricated out of 2mm thick CRCA sheet, compartmentalized with hinged lockable doors, dust and vermin proof, powder coated of approved shade after 7 tank treatment process, cable alley, inter-connection with suitable size copper conductor cable/solid copper strip, having switchgears and accessories, mountings and internal wiring, earth terminals, numbering etc. complete in all respect, suitable for main fire pump, pressurization pump & diesel pump set complete as per CPWD specification with following in coming and Outgoings, suitable for operation on 415V, 3 phase, 50Hz Ac Supply with enclosure protection class IP 42 as required : Electrical panel should be use for BMS compatible pump & EF class. Incomings: Suitable Incoming current of 400A, 4 Pole MCCB, Ics=100% Icu Rating, Digital Voltmeter 0-500V with selector switch, Ammeter (0-500 A) with selector switch & CTs etc., LED type RYB phase indicating lamps, ON, OFF, trip indicating lamps, Set of Copper Bus Bar 800Amps Outgoings: ( Note : All outgoing feeders for pumps should have digital Ammeter with selector switches, and LED type ON, OFF, trip indicating lamps), Main Fire Pump:- 1Nos fully automatic Star/Delta starter suitable for pump with overload protection, current sensing type single phase preventor complete with all accessories and internal wiring required for automatic operation, selector switch for local/remote, auto/manual/OFF operation, ON/OFF indications with 2A SP MCB back up - 1 set, 2Nos of 250 Amp TP+NL MCCB of 36 KA breaking capacity with heavy duty solid detachable neutral link (for 2 Nos. Soft Starter Feeder for 112 KW) with ON/Off indication with 2A SP MCB back up. Also provide manual bypass arrangement comprising, DOL starter with 200A contactor with 2NO & 2NC auxiliary contacts. Over load relay of rating 135-225 A within built single phasing preventer and Ammeter of range 0 - 225 A & 2Nos of associated CT's of rating 250/5A of accuracy CL - I, 5VA burden. Also provide soft starter for each feeder as required. (Fire hydrant & Sprinkler pump), Jockey Pump:- 63 Amp, 36kA TPN MCCB, Ics=100% Icu, with Suitable HP fully automatic DOL starter with overload protection, current sensing type single phase preventer complete with all accessories and internal wiring required for automatic operation, selector switch for local/remote, auto/manual/OFF operation. - 1 set, DIESEL ENGINE CONTROL:- Control for diesel engine comprising -Automatic/Manual sector switch & 3 attempts starting device, timers and relays as required, push buttons, start/stop in manual mode, Indicating lamp for high/ Low Lub. Oil pressure, High Water Temp and Engine on indication, Battey with Battery charger suitbale for 12V/24 V DC with boost and trickle selector switch, 0-30 V DC volt meter, and 0-20 A DC Ammeter,All standard relays and accessories for automatic operation of diesel engine, System Controller, Designing, Supply, Installation Testing and commissioning of system controller to control operation of main electric fire pump, diesel pump, Pressurization pump, Terrace pump in sequence as per specification consisting of relays, timers. Sensors, annunciation window for fault indication, complete as per specification, TERRACE PUMP:- Supplying, Installation, Testing and Commissioning of Control Panel suitable for automatic operation of firefighting pump consisting (Terrace pump):- (a) Necessary cabling, wiring, earthing from panel to individual equipment shall be included in the quoted price.(b) Facility for more selections i.e auto or manual.(c) Protection failure and control cabling.(d) interlocking of pressure switch with pumps, Major component of panel are as under :63A FP MCB with soft starter, single phasing preventor,With push button,On,off, trip indication lamp,space heater with thermostate, cooling exhaust fan |  | 1 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
174 | Supplying and fixing of fire brigade connection of cast iron body with gun metal male instantaneous inlet couplings complete 150 mm butterfly valve, Flanges etc with cap and chain as reqd. for suitable dia MS pipe connection conforming to IS 904 as required : 4 way-150 mm dia M.S. Pipe |  | 1 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
175 | Providing and fixing fire brigade suction hose coupling (draw out connection) with nut for female coupling as per IS-902 complete with 100mm dia. Suction pipe and foot valve (to be connected to static tank) complete as required and as per enclosed specification. |  | 1 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
176 | Providing & fixing of pressure switch in M.S. pipe line including connection etc. as required. |  | 9 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
177 | Supplying and fixing single headed internal hydrant valve with instantaneous Stainless Steel coupling of 63 mm dia with cast iron wheel ISI marked conforming to IS 5290 (Type -A) with blank Gunmetal/Stainless Steel cap and chain as required :- Single headed Stainless steel/GM |  | 17 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
178 | Supplying & fixing 63 mm dia short branch pipe with 20 mm nominal internal diameter size nozzle conforming to IS 903 suitable for instantaneous connection to interconnect hose pipe coupling as required :-Stainless Steel (Grade 304)/GM |  | 17 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
179 | Supplying and fixing 63 mm dia, 15 m long RRL hose pipe with 63 mm dia male and female couplings duly bound with GI wire, rivets etc. conforming to IS 636 (type-A) as required :-Stainless Steel (Grade 304)/GM |  | 34 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
180 | Supplying and fixing first-aid Hose Reel compact type with MS construction spray painted in post office red, conforming to IS 884 complete with the following as required. 20 mm nominal internal dia water hose thermoplastic (Textile reinforced) type -2 as per IS: 12585, 20 mm nominal internal dia gun metal globe valve & nozzle. Drum and brackets for fixing the equipmets on wall.Connections from riser with 25 mm dia stop gun metal valve & M.S. Pipe and socket & flanges. |  | 16 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
181 | Providing and fixing stainless steel standard fireman's axe with heavy insulated rubber handle tested to 20000 volts as per IS : 926 complete. |  | 6 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
182 | Providing & fixing of MS fire Hose cabinet outdoor type of size 0.90 Mx 0.60 Mx 0.50 M made of 6mm thick MS sheet with 6mm thick glazed glass doors i/c necessary locking arrangement suitable to accomodate 2nos 15m long hoses, one no branch pipe, etc. and mounted on 400 mm height agle . The cabinet shall be painted with red colour shade No. 536 of IS: 5 externally & white internally complete in all respects for internal hydrant and as per enclosed specification. |  | 17 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
183 | Providing, laying, testing & commissioning of 'C' class heavy duty MS pipe conforming to IS 3589/IS 1239 including Welding, fittings like elbows, tees, flanges, tapers, nuts bolts, gaskets etc. and fixing the pipe on the wall/ceiling with suitable clamp/support frame and painting with two or more coats of synthetic enamel paint of required shade complete as required. NOTE : Pipe upto dia 50 mm should be threaded/Socket weld forge fitting.:- 25mm Dia |  | 1363.7 | Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
184 | Providing, laying, testing & commissioning of 'C' class heavy duty MS pipe conforming to IS 3589/IS 1239 including Welding, fittings like elbows, tees, flanges, tapers, nuts bolts, gaskets etc. and fixing the pipe on the wall/ceiling with suitable clamp/support frame and painting with two or more coats of synthetic enamel paint of required shade complete as required. NOTE : Pipe upto dia 50 mm should be threaded/Socket weld forge fitting.:- 32mm dia |  | 491.3 | Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
185 | Providing, laying, testing & commissioning of 'C' class heavy duty MS pipe conforming to IS 3589/IS 1239 including Welding, fittings like elbows, tees, flanges, tapers, nuts bolts, gaskets etc. and fixing the pipe on the wall/ceiling with suitable clamp/support frame and painting with two or more coats of synthetic enamel paint of required shade complete as required. NOTE : Pipe upto dia 50 mm should be threaded/Socket weld forge fitting.:- 40mm dia |  | 558.3 | Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
186 | Providing, laying, testing & commissioning of 'C' class heavy duty MS pipe conforming to IS 3589/IS 1239 including Welding, fittings like elbows, tees, flanges, tapers, nuts bolts, gaskets etc. and fixing the pipe on the wall/ceiling with suitable clamp/support frame and painting with two or more coats of synthetic enamel paint of required shade complete as required. NOTE : Pipe upto dia 50 mm should be threaded/Socket weld forge fitting.:- 50mm dia |  | 382.1 | Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
187 | Providing, laying, testing & commissioning of 'C' class heavy duty MS pipe conforming to IS 3589/IS 1239 including Welding, fittings like elbows, tees, flanges, tapers, nuts bolts, gaskets etc. and fixing the pipe on the wall/ceiling with suitable clamp/support frame and painting with two or more coats of synthetic enamel paint of required shade complete as required. NOTE : Pipe upto dia 50 mm should be threaded/Socket weld forge fitting.:- 65mm dia |  | 136 | Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
188 | Providing, laying, testing & commissioning of 'C' class heavy duty MS pipe conforming to IS 3589/IS 1239 including Welding, fittings like elbows, tees, flanges, tapers, nuts bolts, gaskets etc. and fixing the pipe on the wall/ceiling with suitable clamp/support frame and painting with two or more coats of synthetic enamel paint of required shade complete as required. NOTE : Pipe upto dia 50 mm should be threaded/Socket weld forge fitting.:- 80mm dia |  | 181.3 | Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
189 | Providing, laying, testing & commissioning of 'C' class heavy duty MS pipe conforming to IS 3589/IS 1239 including Welding, fittings like elbows, tees, flanges, tapers, nuts bolts, gaskets etc. and fixing the pipe on the wall/ceiling with suitable clamp/support frame and painting with two or more coats of synthetic enamel paint of required shade complete as required. NOTE : Pipe upto dia 50 mm should be threaded/Socket weld forge fitting.:- 100mm dia |  | 18.5 | Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
190 | Providing, laying, testing & commissioning of 'C' class heavy duty MS pipe conforming to IS 3589/IS 1239 including Welding, fittings like elbows, tees, flanges, tapers, nuts bolts, gaskets etc. and fixing the pipe on the wall/ceiling with suitable clamp/support frame and painting with two or more coats of synthetic enamel paint of required shade complete as required. NOTE : Pipe upto dia 50 mm should be threaded/Socket weld forge fitting.:- 150mm dia |  | 928 | Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
191 | Providing, laying, testing & commissioning of 'C' class heavy duty MS pipe conforming to IS 3589/IS 1239 including Welding, fittings like elbows, tees, flanges, tapers, nuts bolts, gaskets etc. and fixing the pipe on the wall/ceiling with suitable clamp/support frame and painting with two or more coats of synthetic enamel paint of required shade complete as required. NOTE : Pipe upto dia 50 mm should be threaded/Socket weld forge fitting.:- 200mm dia (Wall Thicknes 6.3 mm) |  | 18 | Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
192 | Laying, testing & commissioning of 'C' class heavy duty MS pipe conforming to IS 3589 with all accessories like fittings including tees, elbows, reducers, union, flanges, nuts bolts etc. pipes to be laid underground in 1 mtr below from ground with 4 mm thick tape and holiday test check as per IS:10221 complete as required as per approved.:-150 mm Dia |  | 45 | Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
193 | Supplying, fixing, testing and commissioning of butterfly valve of PN 1.6 rating with gunmetal seat duly ISI marked complete with nuts, bolts, washers, gaskets conforming to IS 13095 of following sizes as required :-200 mm dia (Gear Operated) |  | 3 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
194 | Supplying, fixing, testing and commissioning of butterfly valve of PN 1.6 rating with gunmetal seat duly ISI marked complete with nuts, bolts, washers, gaskets conforming to IS 13095 of following sizes as required :-150mm dia. |  | 18 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
195 | Supplying, fixing, testing and commissioning of butterfly valve of PN 1.6 rating with gunmetal seat duly ISI marked complete with nuts, bolts, washers, gaskets conforming to IS 13095 of following sizes as required :-100mm dia. |  | 2 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
196 | Supplying, fixing, testing and commissioning of butterfly valve of PN 1.6 rating with gunmetal seat duly ISI marked complete with nuts, bolts, washers, gaskets conforming to IS 13095 of following sizes as required :- 80mm dia. |  | 19 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
197 | Supplying, fixing, testing and commissioning of butterfly valve of PN 1.6 rating with gunmetal seat duly ISI marked complete with nuts, bolts, washers, gaskets conforming to IS 13095 of following sizes as required :- 65 mm dia. |  | 3 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
198 | Providing, installation, testing and commissioning of non-return valve of following sizes confirming to IS: 5312 complete with rubber gasket, GI bolts, nuts, washers etc.as required :- 200mm dia |  | 1 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
199 | Providing, installation, testing and commissioning of non-return valve of following sizes confirming to IS: 5312 complete with rubber gasket, GI bolts, nuts, washers etc.as required :- 150 mm dia. |  | 4 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
200 | Providing, installation, testing and commissioning of non-return valve of following sizes confirming to IS: 5312 complete with rubber gasket, GI bolts, nuts, washers etc.as required :- 65 mm dia. |  | 1 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
201 | Providing, fixing, testing and commissioning forged brass ball valve full bore type with steel handle and teflon seat tested for 20 kg/cm2.:- 25 mm nominal bore |  | 3 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
202 | Providing, fixing, testing and commissioning forged brass ball valve full bore type with steel handle and teflon seat tested for 20 kg/cm2.:- 50 mm nominal bore |  | 3 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
203 | Providing, installation, testing and commissioning of stainless steel Y-strainer fabricated out of 1.6 mm thick stainless steel, Grade 304, sheet with 3 mm dia holes with stainless steel flange.:- 200 mm dia. |  | 2 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
204 | Providing, installation, testing and commissioning of stainless steel Y-strainer fabricated out of 1.6 mm thick stainless steel, Grade 304, sheet with 3 mm dia holes with stainless steel flange.:- 80 mm dia. |  | 1 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
205 | Providing & fixing of 25mm dia. gunmetal air release valve with all fittings and forged ball valve on header complete as required and as per enclosed specification rated for (0-15 Kg/Cm2) pressure rating. |  | 3 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
206 | Providing and fixing following size Pressure gauge (0-15 Kg/Cm2) complete with shut off valve duly calibrated before installation complete as required & as per enclosed specification.150mm dia. |  | 23 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
207 | Providing, fixing, testing & commissioning of MS air cushion tank 6mm thick MS plate, 250 mm in diameter and 1.2 m in height with dished ends fabricated from 8mm thick MS plate with Air release valve with stop cock, flanged inlet connection and drain arrangement with 25mm dia valve, pressure gauge with gun metal stop cock complete with all accessories as required and conforming to IS 4736-1968. |  | 1 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
208 | Providing, fixing, testing & commissioning of installation control valve of cast iron body, brass/bronze working parts comprising of water motor alarm, bronze seat clapper, clapper arm and hydraulically driven mechanical gong bell to sound continuous alarm when the wet riser/sprinkler system activates, pressure gauges, emergency releases, strainer, pressure switch, cock valve complete with drain valve and bypass, test control box, ball valves, MS pipe of required size, flanges, orifice plate, gasket etc of follwing sizes as required :-150 mm dia. |  | 1 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
209 | Providing, fixing, inspecting, testing of built in drain assembly with sight glass for installation on Sprinkler System, in brass body consisting of steel single lever ball valve for multiple test and drain functions, including inlet connection of specified size, sight glass, connections to the main header and line drain complete as per requirements. Product shall suitable for min. 10 kg/cm2 working pressure and shall be UL Listed / FM Approved.:-50mm Drain size and 15mm (5.6K) Testing Orifice |  | 6 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
210 | Providing, fixing, testing & commissioning of precharged double flanged vertical MS air vessel fabricated from 10 mm thick MS plate with dished ends fabricated from 10 mm thick MS plate common for pumps at drop of pressure including 50 / 80 mm dia inlet with isolating valve duly painted from inside and outside complete as required with Air release valve with stop cock, flanged inlet connection and drain arrangement with 25mm dia valve, pressure gauge with gun metal stop cock complete with all accessories as required and conforming to IS 4736-1968.:- Pressure Vessel for Fire Pump room, Recommended dia. : 450 mm,Height of shell : 2000mm, Working pressure : 10 Kg/Sq.cm, Test Pressure : 15 Kg/Sq.cm |  | 1 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
211 | Providing, fixing, testing & commissioning of precharged double flanged vertical MS air vessel fabricated from 10 mm thick MS plate with dished ends fabricated from 10 mm thick MS plate common for pumps at drop of pressure including 50 / 80 mm dia inlet with isolating valve duly painted from inside and outside complete as required with Air release valve with stop cock, flanged inlet connection and drain arrangement with 25mm dia valve, pressure gauge with gun metal stop cock complete with all accessories as required and conforming to IS 4736-1968.:-For Terrace Pump, Recommended dia. : 450 mm,Height of shell : 1.2mm, Working pressure : 10 Kg/Sq.cm, Test Pressure : 15 Kg/Sq.cm |  | 1 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
212 | Providing & fixing of Safety valve complete as per direction of Engineer incharge.:-25 mm dia |  | 2 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
213 | Providing and fixing reinforced neoprene rubber vibration eliminators/expansion joints (to provide relief from stresses at pipe flanges) suitable for upto 20 kg/cm2 pressure, complete as per specification.:- 150mm dia. |  | 6 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
214 | Providing and fixing reinforced neoprene rubber vibration eliminators/expansion joints (to provide relief from stresses at pipe flanges) suitable for upto 20 kg/cm2 pressure, complete as per specification.:- 80mm dia. |  | 3 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
215 | Providing and fixing reinforced neoprene rubber vibration eliminators/expansion joints (to provide relief from stresses at pipe flanges) suitable for upto 20 kg/cm2 pressure, complete as per specification.:- 65 mm dia. |  | 3 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
216 | Providing and fixing cable for Pump to MCC Panel including necessary support clamps at ceiling level and connection legs complete in all respects.:- 3Cx4 sqmm PVC Armoured Cu Wire |  | 65 | Rm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
217 | Providing and fixing cable for Pump to MCC Panel including necessary support clamps at ceiling level and connection legs complete in all respects.:- 3Cx50 sqmm PVC XLPE armoured Cu Cable |  | 45 | Rm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
218 | Providing and fixing cable for Pump to MCC Panel including necessary support clamps at ceiling level and connection legs complete in all respects.:- 3Cx1.5 sqmm PVC Armoured Cu Wire |  | 30 | Rm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
219 | Providing and fixing GI Earthing strip of Size 25 x 6mm for higher size motors and MCC panels to be connected in as approved manner to the general earthing system complete. |  | 100 | Rm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
220 | Supply of Perforated GI Cable Tray (1.6 mm thickness) for Pump Room:- 300 mm (50 mm depth) |  | 20 | Metre |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
221 | Supply of Perforated GI Cable Tray (1.6 mm thickness) for Pump Room:- 150 mm (50 mm depth) |  | 20 | Metre |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
222 | Supply of Perforated GI Cable Tray (1.6 mm thickness) for Pump Room:- 50 mm (40 mm depth) |  | 40 | Metre |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
223 | Providing, fixing, testing and commissioning brass quartzoid sprinklers K-80 (UL-Underwriters Laboratories Listed) suitable for 175 psi(12 Bars) maximum working pressure and 7 psi(0.5 Bars) minimum operating pressure with 15 mm dia BSPT threaded opening complete in all respects. The type & temperature rating shall be as follows. :-Pendent Sprinkler (68°)- Standard response type |  | 980 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
224 | Providing, fixing, testing and commissioning brass quartzoid sprinklers K-80 (UL-Underwriters Laboratories Listed) suitable for 175 psi(12 Bars) maximum working pressure and 7 psi(0.5 Bars) minimum operating pressure with 15 mm dia BSPT threaded opening complete in all respects. The type & temperature rating shall be as follows. :-Quick Response Horizontal Sidewall sprinkler (K-80, Temp. Rating - 68oC) - Façade Protection Sprinkler |  | 110 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
225 | Supply, Installation, Testing and commissioning of Flow Switch with fittings, Flanges, nut-bolts, washers etc. as per requirement. |  | 8 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
226 | Supply, Installation, Testing and commissioning of Hydraullic flexible pipe for sidewall sprinkler. Pipe should be able to withstand pressure up to 14kg/cm2 with fittings, nut-bolts, washers etc. as per requirement.:- 25 mm |  | 52.9 | Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
227 | Supply, Installation, Testing and commissioning of Hydraullic flexible pipe for sidewall sprinkler. Pipe should be able to withstand pressure up to 14kg/cm2 with fittings, nut-bolts, washers etc. as per requirement.:- 32 mm |  | 36.8 | Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
228 | Supply, Installation, Testing and commissioning of Hydraullic flexible pipe for sidewall sprinkler. Pipe should be able to withstand pressure up to 14kg/cm2 with fittings, nut-bolts, washers etc. as per requirement.:- 40 mm |  | 95.6 | Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
229 | Supply, Installation, Testing and commissioning of Hydraullic flexible pipe for sidewall sprinkler. Pipe should be able to withstand pressure up to 14kg/cm2 with fittings, nut-bolts, washers etc. as per requirement.:- 50 mm |  | 242.6 | Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
230 | Supply, Installation, Testing and commissioning of Hydraullic flexible pipe for sidewall sprinkler. Pipe should be able to withstand pressure up to 14kg/cm2 with fittings, nut-bolts, washers etc. as per requirement.:- 65 mm |  | 27.3 | Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
231 | Supply, installation, testing and commissioning ISI marked (IS:15683) Fire Extinguisher, Carbon-di-oxide type capacity 4.5 Kg. Flat base including valve, discharge hose of not less than 10 mm dia, 1M long and complete in all respects including initial fill with CO2 gas conforming to IS:307-1966 and walll suspension braket as required as per specifications. |  | 22 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
232 | Supply, installation, testing and commissioning of 6kg ABC (Powder Type) Fire Extinguisher. Mild Steel Cylinders ISI marked fitted with pressure indicating gauge, internal tube, squeeze lever type valve fully charged with ABC 90 powder (Mono Ammonium Phosphate) pressured by Nitrogen complete in all respects including wall suspension bracket and conforming to IS:15683 as required as per specifications. |  | 23 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
233 | Supplying & installation of MS structure for above ground piping support or any other . |  | 2000 | Kg |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
234 | Providing, fixing AUTO GLOW photo luminescent Signage's as per IS standard in Block / Small Letters on rigid sheet with necessary wall or Ceiling fittings as Specified Sizes: In case of Fire, do not use lift, use staircase: 8" x 8" |  | 14 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
235 | Providing, fixing AUTO GLOW photo luminescent Signage's as per IS standard in Block / Small Letters on rigid sheet with necessary wall or Ceiling fittings as Specified Sizes:Fire Equipment: 4" x 12" |  | 14 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
236 | Providing, fixing AUTO GLOW photo luminescent Signage's as per IS standard in Block / Small Letters on rigid sheet with necessary wall or Ceiling fittings as Specified Sizes:Fire Exit: 4" x 12" |  | 14 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
Total in Figures | [51 empty] | 0 | 0 | INR Zero Only | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | Zero Only
Quoted Rate in Words |  | INR Zero Only

## Macros
Please Enable Macros to View BoQ information